## Index
Index of spreadsheets
Pond water quality 2014
Design 8May
Results 8May
MS2 Design 16May
MS2 Results 16May
MS2 Results 15&22 July
male specific 9 Oct
male specific 13 Oct
male specific 16 Oct
Crypto expt 21May
Crypto expt 28May
Crypto expt 4Jun
Crypto expt 18Jun
Giardia expt 5Aug
Ec expt 22May
Ec expt 27May
Ec expt 4Jun
Enterococci expt 29May
Enterococci expt 12June
Enterococci expt 19June
Adeno2 expt 17 June
Adeno2 expt 8 July
CB5 expt 22 July
CB5 expt 29 July

## Pond water quality 2014
Water Quality
| April | April | April | April | April | April | May | May | May | May | May | May
Pond | L55EP1 | L55EP2 | L55EP10 | L25WP1 | L25WP2 | L25WP10 | L55EP1 | L55EP2 | L55EP10 | L25WP1 | L25WP2 | L25WP10
E coli | 600 | 71000 | 7 | 140000 | 4500 | 42 | 58000 | 520000 | 6 | 140000 | 800 | 98
Faecal coliforms | 1000 | 71000 | 29 | 230000 | 4500 | 42 | 97000 | 520000 | 15 | 140000 | 1000 | 98
Enterococci | 130 | 48000 | 9 | 10000 | 350 | 5 | 1200 | 23000 | 0 | 5600 | 200 | 25
FRNA | 165 | 30 | 680 | 95 | 1 | <1
cond (EC) | 1972 | 1550 | 1745 | 2030 | 2030 | 1754
pH | 7.67 | 7.28 | 8.17 | 7.49 | 7.66 | 7.88
turbidity | 32.4 | 8.49 | 1.79 | 39.6 | 9.44 | 9.82
Ammonia | 68.4 | 67.8 | <0.5 | 68.8 | 3.118 | 11.45 | 60.76 | 63.01 | 0.195 | 61.4 | 7.927 | 10.83
nitrate+nitrite | 3.2 | 0.007 | 21.7 | 0.007 | 13.1 | 4.8 | 0.01 | 0.007 | 20.9 | 0.009 | 5.76 | 4.89
Phosphate | 10.9 | 10.9 | 8.88 | 11.6 | 8.05 | 8.91 | 9.87 | 10.9 | 8.36 | 13.2 | 3.14 | 7.55
TKN | 69.4 | 63.8 | 1.59 | 73.1 | 4.68 | 12.9 | 65.7 | 65.5 | 1.73 | 67.7 | 9.94 | 13.5
DOC | 15.3 | 15.3 | 8.9 | 15.2 | 10 | 10.1 | 18.1 | 17.1 | 8.4 | 15.9 | 8.9 | 8.7
TOC | 27.4 | 21.2 | 10.7 | 44.9 | 13.3 | 14.5 | 27.4 | 29.5 | 9.5 | 41 | 10.2 | 10.6
BOD | 55 | 14 | <2 | 41 | 6 | 17 | 46 | 24 | <2 | 29 | 8 | 6
COD | 174 | 104 | 223 | 225 | 92 | 131 | 153 | 127 | 84 | 159 | 72 | 90
cond (EC) | 2060 | 2150 | 1860 | 2140 | 1700 | 1900 | 2020 | 2170 | 1700 | 2060 | 1690 | 1730
TDS | 1100 | 1200 | 1000 | 1200 | 940 | 1000 | 1100 | 1200 | 940 | 1100 | 930 | 950
SS | 68 | 12 | 4 | 50 | 6 | 17
VSS | 48 | 11 | 2 | 42 | 5 | 11

## Design 8May
Temperature inactivation exp design | [5 empty] | 2014-05-08
Target temperatures (C) : |  |  | 55 | 65 | 75
Initial hold times (sec) |  |  | 5 | 60
[7 empty] | test vol 120 uL |  |  | target - 1e3 / uL | assume 1e8/mL stock
1e5/uL
Sample ID | Pond | description |  | comment |  |  | test org E coli | resusp ON culture in same vol of P2 or P10 water, then dilture in P2 or P10 water 1/100
1 | L55EP2 | ramp 4-55-4 |  | initially did ramp from to 4C, but modified to do it from ambient |  |  |  | aliquot 120 uL into appropriate tube
2 | L55EP2 | ramp 25-65-25 | [5 empty] | transfer to 120 mL sterile water / PBS
3 | L55EP2 | ramp 25-75-25
4 | L55EP2 | 55 5
5 | L55EP2 | 55 60 |  |  |  |  | test org MS2 |  | target 1e5/uL
6 | L55EP2 | 65 5 | [5 empty] | dilute phage stock directly into P2 or P10 water
7 | L55EP2 | 65 60 | [5 empty] | aliquot 120uL into tubes
8 | L55EP2 | 75 5 | [5 empty] | transfer to 1.2 mL sterile water
9 | L55EP2 | 75 60
10 | L55EP2 | control | [5 empty] | reserve 1 mL of this to be the "neat" (closest to neat we can get)
11 | L55EP10 | ramp 4-55-4 | [5 empty] | use the rest for ten fold dilutions down to -6 (if the stock is correct there should be 1e7/mL in
12 | L55EP10 | ramp 25-65-25 | [5 empty] | do -4, -5 -6 dilutions for ramp, control, 55, 65
13 | L55EP10 | ramp 25-75-25 | [5 empty] | do neat, -2, -4 for the 75 ones
14 | L55EP10 | 55 5
15 | L55EP10 | 55 60
16 | L55EP10 | 65 5
17 | L55EP10 | 65 60
18 | L55EP10 | 75 5
19 | L55EP10 | 75 60
20 | L55EP10 | control

## Results 8May
Temperature inactivation exp design | [5 empty] | 2014-05-08 | raw data in lab book | [5 empty] | Ec | MS2
Target temperatures (C) : |  |  | 55 | 65 | 75 | [6 empty] | Pond 2 | 6.6128 | 7.2788
Initial hold times (sec) |  |  | 5 | 60 | [7 empty] | Pond 10 | 6.3979 | 7.2304
[7 empty] | test vol 120 uL |  |  |  |  | yellow cell = greater than result
[5 empty] | E coli | EcoliLRV | MS-2 |  |  |  |  | MS-2 | MS2LRV
Sample ID |  | description | time(s) | temp. (C ) |  |  | N | -2 | -4 | -5 | -6
1 | L55EP2 | ramp 4-55-4 | 1 | 55 | 3700000 | 0.044582 |  |  | > | 142 | 17 | 14200000 | 0.12647
2 | L55EP2 | ramp 25-65-25 | 1 | 65 | 2400000 | 0.23257 |  |  | > | 157 | 20 | 15700000 | 0.082854
3 | L55EP2 | ramp 25-75-25 | 1 | 75 | 0 | 6.6128 |  |  | > | 26 | 5 | 2600000 | 0.86378
4 | L55EP2 | 55 5 | 5 | 55 | 2000000 | 0.31175 |  |  | > | 131 | x | 13100000 | 0.16148
5 | L55EP2 | 55 60 | 60 | 55 | 1400000 | 0.46666 |  |  | > | > | 25 | 25000000 | -0.11919
6 | L55EP2 | 65 5 | 5 | 65 | 370000 | 1.0446 |  |  | > | 193 | 29 | 19300000 | -0.0068037
7 | L55EP2 | 65 60 | 60 | 65 | 0 | 6.6128 |  |  | > | 34 | 2 | 3400000 | 0.74727
8 | L55EP2 | 75 5 | 5 | 75 | 0 | 6.6128 | > | > | 72 |  |  | 720000 | 1.4214
9 | L55EP2 | 75 60 | 60 | 75 | 0 | 6.6128 | 11 | 0 | 0 |  |  | 11 | 6.2374
10 | L55EP2 | control |  |  | 4100000 | 0 |  |  | > | > | 19 | 19000000 | 0
11 | L55EP10 | ramp 4-55-4 | 1 | 55 | 2400000 | 0.017729 |  |  | > | 171 | 16 | 17100000 | -0.0025472
12 | L55EP10 | ramp 25-65-25 | 1 | 65 | 1200000 | 0.31876 |  |  | > | 176 | 21 | 17600000 | -0.015064
13 | L55EP10 | ramp 25-75-25 | 1 | 75 | 0 | 6.3979 |  |  | > | 36 | 0 | 3600000 | 0.67415
14 | L55EP10 | 55 5 | 5 | 55 | 1800000 | 0.14267 |  |  | > | 156 | 21 | 15600000 | 0.037324
15 | L55EP10 | 55 60 | 60 | 55 | 1400000 | 0.25181 |  |  | > | 140 | 16 | 14000000 | 0.084321
16 | L55EP10 | 65 5 | 5 | 65 | 240000 | 1.0177 |  |  | > | 145 | 16 | 14500000 | 0.069081
17 | L55EP10 | 65 60 | 60 | 65 | 0 | 6.3979 |  |  | > | 23 | 3 | 2300000 | 0.86872
18 | L55EP10 | 75 5 | 5 | 75 | 0 | 6.3979 | > | > | 68 |  |  | 680000 | 1.3979
19 | L55EP10 | 75 60 | 60 | 75 | 0 | 6.3979 | 7 | 1 | 0 |  |  | 7 | 6.3854
20 | L55EP10 | control |  |  | 2500000 | 0 |  |  | > | 170 | 14 | 17000000 | 0

## MS2 Design 16May
Temperature inactivation exp design | [5 empty] | 2014-05-16
Target temperatures (C) : |  |  |  | 65, 75
Initial hold times (sec) |  |  |  | 1, 5, 30, 60
[7 empty] | test vol 120 uL |  |  | target - 1e3 / uL | assume 1e8/mL stock
1e5/uL
Sample ID | Spiked |  | description |  | comment |  | test org E coli | resusp ON culture in same vol of P2 or P10 water, then dilture in P2 or P10 water 1/100
1 | yes | L55EP2 | ramp 25-65-25 |  | ramp is 1 sec hold |  |  | aliquot 120 uL into appropriate tube
2 | yes | L55EP2 | 65 5 sec hold |  |  |  |  | transfer to 120 mL sterile water / PBS
3 | yes | L55EP2 | 65 30 sec hold
4 | yes | L55EP2 | 65 60 sec hold
5 | yes | L55EP2 | ramp 25-75-25 |  |  | for spiked samples: | test org MS2 |  | target 1e5/uL
6 | yes | L55EP2 | 75 5 sec hold |  |  |  |  | dilute phage stock directly into P2 or P10 water
7 | yes | L55EP2 | 75 30 sec hold |  |  |  |  | aliquot 120uL into tubes
8 | yes | L55EP2 | 75 60 sec hold |  |  |  |  | transfer to 1.2 mL sterile water after heat treatment
9 | yes | L55EP2 | control
10 | no | L55EP2 | ramp 25-65-25 |  |  |  |  | reserve 1 mL of this to be the "neat" (closest to neat we can get)
11 | no | L55EP2 | 65 5 sec hold |  |  |  |  | use the rest for ten fold dilutions down to -6 (if the stock is correct there should be 1e7/mL in
12 | no | L55EP2 | 65 30 sec hold |  |  |  |  | do -4, -5 -6 dilutions for ramp, control, 65
13 | no | L55EP2 | 65 60 sec hold |  |  |  |  | do neat, -2, -4 for the 75 ones
14 | no | L55EP2 | ramp 25-75-25
15 | no | L55EP2 | 75 5 sec hold |  |  | for not spiked sample |  | aliquot 120uL into tubes
16 | no | L55EP2 | 75 30 sec hold |  |  |  |  | transfer to 1.2 mL sterile water after heat treatment
17 | no | L55EP2 | 75 60 sec hold |  |  |  |  | reserve 1 mL of this to be the "neat" (closest to neat we can get)
18 | no | L55EP2 | control |  |  |  |  | plate neat, -1, -2
19 | yes | L55EP10 | ramp 25-65-25
20 | yes | L55EP10 | 65 5 sec hold
21 | yes | L55EP10 | 65 30 sec hold
22 | yes | L55EP10 | 65 60 sec hold
23 | yes | L55EP10 | ramp 25-75-25
24 | yes | L55EP10 | 75 5 sec hold
25 | yes | L55EP10 | 75 30 sec hold
26 | yes | L55EP10 | 75 60 sec hold
27 | yes | L55EP10 | control

## MS2 Results 16May
Temperature inactivation exp design |  |  |  |  | 2014-05-16 | raw data in lab book | [5 empty] | MS2
Target temperatures (C) : |  |  | 65, 75 | [7 empty] | P2spiked | 7.0531 | P2 unspiked | 1.8513
Initial hold times (sec) |  |  | 1, 5, 30, 60 | [7 empty] | P10spiked | 6.9823
[6 empty] | test vol 120 uL |  |  |  |  | yellow cell = greater than result |  | yellow = greater than
[5 empty] | MS-2 |  |  |  |  | MS-2 | MS2LRV
Sample ID |  | description | time(s) | temp. (C ) | N | -2 | -4 | -5 | -6
1 | L55EP2 | ramp 25-65-25 | 1 | 65 |  |  | > | 128 | 12 | 12800000 | -0.054132 | Ventura report:
2 | L55EP2 | 65 5 sec hold | 5 | 65 |  |  | > | 127 | 16 | 12700000 | -0.050725 | different plaque morphology on unspiked? (hazy, not clear)
3 | L55EP2 | 65 30 sec hold | 30 | 65 |  |  | > | 92 | 12 | 9200000 | 0.089291 | for unspiked
4 | L55EP2 | 65 60 sec hold | 60 | 65 |  |  | 172 | 13 | 3 | 1720000 | 0.81755
5 | L55EP2 | ramp 25-75-25 | 1 | 75 |  |  | > | 26 | 6 | 2600000 | 0.63811
6 | L55EP2 | 75 5 sec hold | 5 | 75 | > | > | 101 |  |  | 1010000 | 1.0488
7 | L55EP2 | 75 30 sec hold | 30 | 75 | 31 | 0 | 0 |  |  | 31 | 5.5617
8 | L55EP2 | 75 60 sec hold | 60 | 75 | 0 | 0 | 0 |  |  | 0 | 7.0531
9 | L55EP2 | control |  |  |  |  | > | 113 | 11 | 11300000 | 0
10 | L55EP2 | ramp 25-65-25 | 1 | 65 | 80 | 4 | 1 |  |  | 80 | -0.051832
11 | L55EP2 | 65 5 sec hold | 5 | 65 | 72 | 6 | 1 |  |  | 72 | -0.0060741
12 | L55EP2 | 65 30 sec hold | 30 | 65 | 33 | 1 | 0 |  |  | 33 | 0.33274
13 | L55EP2 | 65 60 sec hold | 60 | 65 | 15 | 0 | 0 |  |  | 15 | 0.67517
14 | L55EP2 | ramp 25-75-25 | 1 | 75 | 32 | 2 | 1 |  |  | 32 | 0.34611
15 | L55EP2 | 75 5 sec hold | 5 | 75 | 25 | 1 | 0 |  |  | 25 | 0.45332
16 | L55EP2 | 75 30 sec hold | 30 | 75 | 3 | 2 | 0 |  |  | 3 | 1.3741
17 | L55EP2 | 75 60 sec hold | 60 | 75 | 2 | 0 | 0 |  |  | 2 | 1.5502
18 | L55EP2 | control |  |  | 71 | 5 | 0 |  |  | 71 | 0
19 | L55EP10 | ramp 25-65-25 | 1 | 65 |  |  | > | 133 | 12 | 13300000 | -0.14158
20 | L55EP10 | 65 5 sec hold | 5 | 65 |  |  | > | 104 | 9 | 10400000 | -0.034762
21 | L55EP10 | 65 30 sec hold | 30 | 65 |  |  | > | 67 | 8 | 6700000 | 0.1562
22 | L55EP10 | 65 60 sec hold | 60 | 65 |  |  | 210 | 20 | 3 | 2100000 | 0.66005
23 | L55EP10 | ramp 25-75-25 | 1 | 75 |  |  | > | 58 | 4 | 5800000 | 0.21884
24 | L55EP10 | 75 5 sec hold | 5 | 75 | > | > | 87 |  |  | 870000 | 1.0428
25 | L55EP10 | 75 30 sec hold | 30 | 75 | 21 | 2 | 0 |  |  | 21 | 5.6601
26 | L55EP10 | 75 60 sec hold | 60 | 75 | 0 | 0 | 0 |  |  | 0 | 6.9823
27 | L55EP10 | control |  |  |  |  | > | 96 | 5 | 9600000 | 0

## MS2 Results 15&22 July
Temperature inactivation exp design |  |  |  | 2014-07-15 | raw data in lab book | [7 empty] | MS2
Target temperatures (C) : |  |  | 65, 75 | [7 empty] | P2spiked |  | 6.2321
Initial hold times (sec) |  |  | 5, 30, 60
[5 empty] | test vol 120 uL | [5 empty] | yellow cell = greater than result
|  |  |  | MS-2 | [5 empty] | MS-2 | [10 empty] | 22/7 result
Sample ID |  | description | time(s) | N | -2 | -4 | -5 | -6 | Temp (c ) |  | Log Value | LRV | [8 empty] | SAMPLE | Dilution
1 | L55EP2 | 65 5 sec hold | 5 |  |  | 167 |  |  | 65 | 1670000 | 6.2227 | 0.0090404 | Ventura report: | [8 empty] | N | -2 | -4
2 | L55EP2 | 65 30 sec hold | 30 |  |  | 80 |  |  | 65 | 800000 | 5.9031 | 0.32867 | different plaque morphology on unspiked? (hazy, not clear) | [7 empty] | 10 25-75(5)-25 | >300 | >300 | 25
3 | L55EP2 | 65 60 sec hold | 60 |  |  | 13 |  |  | 65 | 130000 | 5.1139 | 1.1178 | for unspiked | [7 empty] | 11 25-75(30)-25 | 0 | 1 | 0
4 | L55EP2 | 65 5 sec hold | 5 |  |  | 121 |  |  | 65 | 1210000 | 6.0828 | 0.14897 |  |  | (sec) | mean | stdev |  |  |  | 12 25-75(60)-25 | 0 | 0 | 0
5 | L55EP2 | 65 30 sec hold | 30 |  |  | 78 |  |  | 65 | 780000 | 5.8921 | 0.33966 |  | control | 0 | 6.2318 | 0.022487 |  |  |  | 13 25-75(5)-25 | >300 | >300 | 26
6 | L55EP2 | 65 60 sec hold | 60 |  |  | 15 |  |  | 65 | 150000 | 5.1761 | 1.0557 |  | 65 | 5 | 0.072194 | 0.070953 |  |  |  | 14 25-75(30)-25 | 1 | 1 | 1
7 | L55EP2 | 65 5 sec hold | 5 |  |  | 149 |  |  | 65 | 1490000 | 6.1732 | 0.058571 |  | 65 | 30 | 0.2773 | 0.098646 |  |  |  | 15 25-75(60)-25 | 0 | 1 | 1
8 | L55EP2 | 65 30 sec hold | 30 |  |  | 117 |  |  | 65 | 1170000 | 6.0682 | 0.16357 |  | 65 | 60 | 1.0864 | 0.031081 |  |  |  | 16 25-75(5)-25 | >300 | >300 | 141
9 | L55EP2 | 65 60 sec hold | 60 |  |  | 14 |  |  | 65 | 140000 | 5.1461 | 1.0856 |  | 75 | 5 | 1.0819 | 0.093951 |  |  |  | 17 25-75(30)-25 | 2 | 3 | 3
10 | L55EP2 | 75 5 sec hold | 5 |  |  | 11 |  |  | 75 | 110000 | 5.0414 | 1.1904 |  | 75 | 30 | 4.46 | 0.39862 |  |  |  | 18 25-75(60)-25 | 0 | 0 | 0
11 | L55EP2 | 75 30 sec hold | 30 | 168 |  |  |  |  | 75 | 168 | 2.2253 | 4.0064 |  | 75 | 60 | 4.6482 | 0.0065131 |  |  |  |  | -4 | -5 | -6
12 | L55EP2 | 75 60 sec hold | 60 | 38 |  |  |  |  | 75 | 38 | 1.5798 | 4.652 | [8 empty] | 19 No Heat | 168 | 13 | 3
13 | L55EP2 | 75 5 sec hold | 5 |  |  | 16 |  |  | 75 | 160000 | 5.2041 | 1.0276 | [8 empty] | 20 No Heat | 141 | 57 | 3
14 | L55EP2 | 75 30 sec hold | 30 | 41 |  |  |  |  | 75 | 41 | 1.6128 | 4.619 | [8 empty] | 21 No Heat | 222 | 22 | 35
15 | L55EP2 | 75 60 sec hold | 60 | 39 |  |  |  |  | 75 | 39 | 1.5911 | 4.6407 | [9 empty] | -7
16 | L55EP2 | 75 5 sec hold | 5 |  |  | 16 |  |  | 75 | 160000 | 5.2041 | 1.0276 | [8 empty] | Control – 1 | 39
17 | L55EP2 | 75 30 sec hold | 30 | 30 |  |  |  |  | 75 | 30 | 1.4771 | 4.7546 | [8 empty] | Control – 2 | 28
18 | L55EP2 | 75 60 sec hold | 60 | 38 |  |  |  |  | 75 | 38 | 1.5798 | 4.652 | [8 empty] | No Phage control | Lawn Growth Normal
19 | L55EP2 | control | 0 |  |  | 165 |  |  |  | 1650000 | 6.2175
20 | L55EP2 | control | 0 |  |  | 166 |  |  |  | 1660000 | 6.2201
21 | L55EP2 | control | 0 |  |  | 181 |  |  |  | 1810000 | 6.2577 |  | repeat
[14 empty] | lrv |  |  |  | (sec) | LRV
2014-07-22 | L55EP2 | 75 5 sec hold | 5 | [5 empty] | 75 | 250000 |  |  | 5.3979 | 0.84235 |  |  |  | 5 | 0.58625 | 0.42892
| L55EP2 | 75 30 sec hold | 30 | [5 empty] | 75 | 0 | 1 on -2 |  | 0 | 6.2403 | greater than |  |  | 30 | 5.94, >6.24
| L55EP2 | 75 60 sec hold | 60 | [5 empty] | 75 | 0 |  |  | 0 | 6.2403 | greater than |  |  | 60 | 6.2403
| L55EP2 | 75 5 sec hold | 5 | [5 empty] | 75 | 260000 |  |  | 5.415 | 0.82532
| L55EP2 | 75 30 sec hold | 30 | [5 empty] | 75 | 1 | 1 on -2 |  | 0 | 6.2403 | greater than
| L55EP2 | 75 60 sec hold | 60 | [5 empty] | 75 | 0 | 1 on -2 |  | 0 | 6.2403 | greater than
| L55EP2 | 75 5 sec hold | 5 | [5 empty] | 75 | 1410000 |  |  | 6.1492 | 0.091075
| L55EP2 | 75 30 sec hold | 30 | [5 empty] | 75 | 2 | 3 on -2 |  | 0.30103 | 5.9393
| L55EP2 | 75 60 sec hold | 60 | [5 empty] | 75 | 0 |  |  | 0 | 6.2403 | greater than
| L55EP2 | control | 0 | [6 empty] | 1680000 |  |  | 6.2253 | 6.2403
| L55EP2 | control | 0 | [6 empty] | 1410000 |  |  | 6.1492
| L55EP2 | control | 0 | [6 empty] | 2220000 |  |  | 6.3464

## male specific 9 Oct
Temperature inactivation exp design |  |  |  | 2014-07-15 | raw data in lab book |  |  |  |  | L55EP2 water |  |  | native male-specific phage
Target temperatures (C) : |  |  | 65, 75
Initial hold times (sec) |  |  | 5, 30, 60
[5 empty] | test vol 120 uL | [5 empty] | yellow cell = greater than result
|  |  |  | MS-2 | [5 empty] | rnase- | [7 empty] | rnase+ | [10 empty] | alternate calcs |  | 5350000
Sample ID |  | description | time(s) | N | -2 | -4 | -5 | -6 | temp (C ) | -2 | -3 | -4 | -5 | -6 | -7 | Count | LRV | -2 | -3 | -4 | -5 | -6 | -7 | Count | LRV | Count | FRNA | LRV |  | LRV FDNA | FRNA | LRV
1 | L55EP2 | 65 5 sec hold | 5 |  |  | 167 |  |  | 65 | rnase- -5: >; rnase- -6: 99 | 99000000 | 0.033749 |  | > | > | 61 |  |  | 6100000 | -0.037142 | 6.1616 | 92900000 | 0.038022 |  | -0.056976
2 | L55EP2 | 65 30 sec hold | 30 |  |  | 80 |  |  | 65 | rnase- -5: >; rnase- -6: 68 | 68000000 | 0.19687 |  | > | > | 45 |  |  | 4500000 | 0.094976 | 6.6176 | 63500000 | 0.20326 |  | 0.075141
3 | L55EP2 | 65 60 sec hold | 60 |  |  | 13 |  |  | 65 | rnase- -5: >; rnase- -6: 41 | 41000000 | 0.4166 |  | > | 340 | 52 |  |  | 5200000 | 0.032185 | 12.6829 | 35800000 | 0.45215 |  | 0.01235
4 | L55EP2 | 75 5 sec hold | 5 |  |  | 121 |  |  | 75 | rnase- -5: >; rnase- -6: 54 | 54000000 | 0.29699 | > |  | 399 |  |  |  | 3990000 | 0.14722 | 7.3889 | 50010000 | 0.30698 |  | 0.12738
5 | L55EP2 | 75 30 sec hold | 30 |  |  | 78 |  |  | 75 | rnase- -5: 45; rnase- -6: 3 | 4500000 | 1.3762 | > |  | 212 |  |  |  | 2120000 | 0.42185 | 47.1111 | 2380000 | 1.6295 |  | 0.40202
6 | L55EP2 | 75 60 sec hold | 60 |  |  | 15 |  |  | 75 | rnase- -5: 8; rnase- -6: 1 | 800000 | 2.1263 | > |  | 134 |  |  |  | 1340000 | 0.62108 | 167.5 | 1 | 8.006 |  | 0.60125
7 | L55EP2 |  |  |  |  | 149
8 | L55EP2 |  |  |  |  | 117
9 | L55EP2 |  |  |  |  | 14
10 | L55EP2 |  |  |  |  | 11
11 | L55EP2 |  |  | 168
12 | L55EP2 |  |  | 38
13 | L55EP2 |  |  |  |  | 16
14 | L55EP2 |  |  | 41
15 | L55EP2 |  |  | 39
16 | L55EP2 |  |  |  |  | 16
17 | L55EP2 |  |  | 30
18 | L55EP2 | 75 60 sec hold | 60 | 38 |  |  |  |  | 7
19 | L55EP2 | control | 0 |  |  | 165
20 | L55EP2 | control | 0 |  |  | 166
21 | L55EP2 | control | 0 |  |  | 181 |  |  |  | rnase- -6: 107; rnase- -7: 6 | 107000000 |  |  |  | > | 56 | 5 |  | 5600000 |  | 5.2336 | 101400000

## male specific 13 Oct
Temperature inactivation exp design |  |  |  | 2014-07-15 | raw data in lab book |  |  |  | L55EP2 water |  |  | native male-specific phage
Target temperatures (C) : |  |  | 65, 75
Initial hold times (sec) |  |  | 5, 30, 60
[5 empty] | test vol 120 uL |  |  |  |  | yellow cell = greater than result
|  |  |  | MS-2 |  |  |  |  | rnase- | [7 empty] | rnase+
Sample ID |  | description | time(s) | N | -2 | -4 | -5 | -6 | temp (C ) | -2 | -3 | -4 | -5 | -6 | -7 | Count | LRV | -2 | -3 | -4 | -5 | -6 | -7 | Count | LRV | Count | FRNA | LRV
1 | L55EP2 | 65 5 sec hold | 5 |  |  | 167 |  |  | 65 | -6: 82; -7: 7 | 82000000 | -0.16563 |  |  |  | 57 | 5 |  | 5700000 | -0.17609 | 6.9512 | 76300000 | -0.16485
2 | L55EP2 | 65 30 sec hold | 30 |  |  | 80 |  |  | 65 | -6: 57; -7: 5 | 57000000 | -0.0076868 |  |  |  | 45 | 8 |  | 4500000 | -0.073429 | 7.8947 | 52500000 | -0.0024888
3 | L55EP2 | 65 60 sec hold | 60 |  |  | 13 |  |  | 65 | -6: 32; -7: 3 | 32000000 | 0.24304 |  |  |  | 45 | 7 |  | 4500000 | -0.073429 | 14.0625 | 27500000 | 0.27834
4 | L55EP2 | 75 5 sec hold | 5 |  |  | 121 |  |  | 75 | -6: 21; -7: 3 | 21000000 | 0.42597 |  |  |  | 41 | 2 |  | 4100000 | -0.033 | 19.5238 | 16900000 | 0.48978
5 | L55EP2 | 75 30 sec hold | 30 |  |  | 78 |  |  | 75 | -5: 43; -6: 3 | 4300000 | 1.1147 |  |  | 252 | 39 |  |  | 2520000 | 0.17838 | 58.6047 | 1780000 | 1.4673
6 | L55EP2 | 75 60 sec hold | 60 |  |  | 15 |  |  | 75 | -4: 172; -5: 13; -6: 0 | 1720000 | 1.5127 |  |  | 173 | 14 |  |  | 1730000 | 0.34174 | 100.5814 | 1 | 7.7177
7 | L55EP2 |  |  |  |  | 149
8 | L55EP2 |  |  |  |  | 117
9 | L55EP2 |  |  |  |  | 14
10 | L55EP2 |  |  |  |  | 11
11 | L55EP2 |  |  | 168
12 | L55EP2 |  |  | 38
13 | L55EP2 |  |  |  |  | 16
14 | L55EP2 |  |  | 41
15 | L55EP2 |  |  | 39
16 | L55EP2 |  |  |  |  | 16
17 | L55EP2 |  |  | 30
18 | L55EP2 | 75 60 sec hold | 60 | 38 |  |  |  |  | 75
19 | L55EP2 | control | 0 |  |  | 165
20 | L55EP2 | control | 0 |  |  | 166
21 | L55EP2 | control | 0 |  |  | 181 |  |  |  | -6: 56; -7: 3 | 56000000 |  |  |  | > | 38 | 6 |  | 3800000 |  | 6.7857 | 52200000

## male specific 16 Oct
Temperature inactivation exp design |  |  |  | 2014-07-15 | raw data in lab book |  |  |  | L55EP2 water |  |  | native male-specific phage
Target temperatures (C) : |  |  | 75
Initial hold times (sec) |  |  | 5, 30, 60
[5 empty] | test vol 120 uL |  |  |  |  | yellow cell = greater than result
|  |  |  | MS-2 |  |  |  |  | rnase- | [7 empty] | rnase+
Sample ID |  | description | time(s) | N | -2 | -4 | -5 | -6 | temp (C ) | -2 | -3 | -4 | -5 | -6 | -7 | Count | LRV | -2 | -3 | -4 | -5 | -6 | -7 | Count | LRV | Count | FRNA | LRV
1 | L55EP2 | 75 5 sec hold | 5 |  |  | 167 |  |  | 75 | -6: 24.3333 | 24333333.3333 | 0.60797 |  |  |  | 60.3333 |  |  | 6033333.3333 | 0.066604 | 24.7945 | 18300000 | 0.6996
2 | L55EP2 | 75 30 sec hold | 30 |  |  | 80 |  |  | 75 | -5: 36.6667 | 3666666.6667 | 1.4299 |  |  |  | 37.3333 |  |  | 3733333.3333 | 0.27506 | 101.8182 | -66666.6667 | #NUM!
3 | L55EP2 | 75 60 sec hold | 60 |  |  | 13 |  |  | 75 | -4: 169.6667 | 1696666.6667 | 1.7646 |  |  | 197.3333 |  |  |  | 1973333.3333 | 0.55196 | 116.3065 | 1 | 7.9621
4 | L55EP2
5 | L55EP2
6 | L55EP2
7 | L55EP2 |  |  |  |  | 149
8 | L55EP2 |  |  |  |  | 117
9 | L55EP2 |  |  |  |  | 14
10 | L55EP2 |  |  |  |  | 11
11 | L55EP2 |  |  | 168
12 | L55EP2 |  |  | 38
13 | L55EP2 |  |  |  |  | 16
14 | L55EP2 |  |  | 41
15 | L55EP2 |  |  | 39
16 | L55EP2 |  |  |  |  | 16
17 | L55EP2 |  |  | 30
18 | L55EP2 |  |  | 38
19 | L55EP2 | control | 0 |  |  | 165
20 | L55EP2 | control | 0 |  |  | 166
21 | L55EP2 | control | 0 |  |  | 181 |  |  |  | -6: 98.6667 | 98666666.6667 |  |  |  |  | 70.3333 |  |  | 7033333.3333 |  | 7.1284 | 91633333.3333
|  |  |  | MS-2 |  |  |  |  | rnase- | [7 empty] | rnase+
Sample ID |  | description | time(s) | N | -2 | -4 | -5 | -6 |  | -2 | -3 | -4 | -5 | -6 |  |  |  | -2 | -3 | -4 | -5 | -6
|  | 75 0 sec hold | 0 | [5 empty] | 75 | -6: 105 | 105000000 |  |  |  |  | 70 |  |  | 7000000
|  | 75 0 sec hold | 0 | [5 empty] | 75 | -6: 91 | 91000000 |  |  |  |  | 62 |  |  | 6200000
|  | 75 0 sec hold | 0 | [5 empty] | 75 | -6: 100 | 100000000 |  |  |  |  | 79 |  |  | 7900000
|  | 75 5 sec hold | 5 | [5 empty] | 75 | -6: 27 | 27000000 |  |  |  |  | 62 |  |  | 6200000
|  | 75 5 sec hold | 5 | [5 empty] | 75 | -6: 24 | 24000000 |  |  |  |  | 52 |  |  | 5200000
|  | 75 5 sec hold | 5 | [5 empty] | 75 | -6: 22 | 22000000 |  |  |  |  | 67 |  |  | 6700000
|  | 75 30 sec hold | 30 | [5 empty] | 75 | -5: 36 | 3600000 |  |  |  |  | 36 |  |  | 3600000
|  | 75 30 sec hold | 30 | [5 empty] | 75 | -5: 41 | 4100000 |  |  |  |  | 31 |  |  | 3100000
|  | 75 30 sec hold | 30 | [5 empty] | 75 | -5: 33 | 3300000 |  |  |  |  | 45 |  |  | 4500000
|  | 75 60 sec hold | 60 | [5 empty] | 75 | -4: 169 | 1690000 |  |  |  | 187 |  |  |  | 1870000
|  | 75 60 sec hold | 60 | [5 empty] | 75 | -4: 164 | 1640000 |  |  |  | 209 |  |  |  | 2090000
|  | 75 60 sec hold | 60 | [5 empty] | 75 | -4: 176 | 1760000 |  |  |  | 196 |  |  |  | 1960000

## Crypto expt 21May
Temperature inactivation exp design | [6 empty] | 2014-05-21
Target temperatures (C) : |  |  |  | 55
Initial hold times (sec) |  |  |  | 1, 5, 30 |  |  | measured ramping, 37sec from 25 to 55C, 119sec total for 25-55(1)-25
test vol 120 uL
Sample ID | Spiked |  | description | hold time (s) | comment
| yes | milliQ | ramp 25-55-25 | 1 | ramp is 1 sec hold
| yes | L55EP2 | ramp 25-55-25 | 1
| yes | L55EP10 | ramp 25-55-25 | 1
| yes | milliQ | 25-55(5)-25 | 5 | 5s hold | [5 empty] | stock is 1e4/uL | 5+495
| yes | L55EP2 | 25-55(5)-25 | 5 |  |  |  | test org Crypto |  |  | target 1e2/uL
| yes | L55EP10 | 25-55(5)-25 | 5 | [5 empty] | dilute crypto directly into milliQ, P2 or P10 water
| yes | milliQ | 25-55(30)-25 | 30 | 30s hold |  |  |  |  | aliquot 120uL into tubes
| yes | L55EP2 | 25-55(30)-25 | 30
| yes | L55EP10 | 25-55(30)-25 | 30 | [5 empty] | dilute working stock |  | 5+495
| yes | milliQ | 25C 149sec in block cycler | [7 empty] | 1oocyst/uL
| yes | L55EP2 | 25C 149sec in block cycler | [6 empty] | stain 100uL of dilution for counting
| yes | L55EP10 | 25C 149sec in block cycler | [7 empty] | count
| yes | milliQ | room temp control | [6 empty] | milliQ | 81
| yes | L55EP2 | room temp control | [6 empty] | L55EP2 | 91
| yes | L55EP10 | room temp control | [6 empty] | L55EP10 | 72
| CC plate |  |  |  | oocysts added | Count (1000) | % | LRV
| 1 | milliQ | ramp 25-55-25 | 1 | 81 | 380 | 0.46914 | -0.11739 |  |  | for cell culture analyse either 100 or 1000 oocysts (10uL of 1e2/uL or 100 uL of 1e0/uL)
| 2 | milliQ | ramp 25-55-25 | 1 | 810 | >
| 3 | L55EP2 | ramp 25-55-25 | 1 | 91 | 500 | 0.54945 | -0.11919
| 4 | L55EP2 | ramp 25-55-25 | 1 | 910 | >
| 5 | L55EP10 | ramp 25-55-25 | 1 | 72 | 570 | 0.79167 | -0.29348
| 6 | L55EP10 | ramp 25-55-25 | 1 | 720 | >
| 7 | milliQ | 25-55(5)-25 | 5 | 810 | >
| 8 | L55EP2 | 25-55(5)-25 | 5 | 910 | >
| 9 | L55EP10 | 25-55(5)-25 | 5 | 720 | >
| 10 | milliQ | 25-55(30)-25 | 30 | 810 | 0 | 0 | 2.4624 | >
| 11 | L55EP2 | 25-55(30)-25 | 30 | 910 | 0 | 0 | 2.5798 | >
| 12 | L55EP10 | 25-55(30)-25 | 30 | 720 | 1 | 0.00013889 | 2.4624 | was a borderline focus
| 13 | milliQ | 25C 149sec in block cycler |  | 81 | 390 | 0.48148 | -0.12867
| 14 | milliQ | 25C 149sec in block cycler |  | 810 | >
| 15 | L55EP2 | 25C 149sec in block cycler |  | 91 | 500 | 0.54945 | -0.11919
| 16 | L55EP2 | 25C 149sec in block cycler |  | 910 | >
| 17 | L55EP10 | 25C 149sec in block cycler |  | 72 | 210 | 0.29167 | 0.14018
| 18 | L55EP10 | 25C 149sec in block cycler |  | 720 | >
| 19 | milliQ | room temp control |  | 81 | 290 | 0.35802 | 0
| 20 | L55EP2 | room temp control |  | 91 | 380 | 0.41758 | 0
| 21 | L55EP10 | room temp control |  | 72 | 290 | 0.40278

## Crypto expt 28May
Temperature inactivation exp design | [8 empty] | 2014-05-28
Target temperatures (C) : |  |  |  | 55, 65
Initial hold times (sec) |  |  |  | 15, 30
test vol 120 uL
600
L55EP2 | description |  | vol to analyse
1 | 25-55(15)-25 |  | 10, 100 of diln
2 | 25-55(30)-25 |  | 10
3 | 25-65(15)-25 |  | 10
4 | 25-75(5)-25 |  | 10 | [9 empty] | stock is 1e4/uL |  | 10+990
5 | room temp control |  | 100 of diln | [6 empty] | test org Crypto |  |  | target 1e2/uL
6 | [11 empty] | dilute crypto directly into P2
7 | [11 empty] | aliquot 120uL into tubes |  |  | 8733.3333 | 87.3333 | oocysts/uL
8
9 | [11 empty] | dilute working stock |  |  | 10+990
10 | [12 empty] | 1oocyst/uL
11 | [11 empty] | stain 100uL of dilution for counting + 30 stain + 870 PBS
12 | [12 empty] | count |  | Average
[12 empty] | L55EP2 | 73 |  | 87.3333 | 0.87333 | oocysts /uL
[12 empty] | L55EP2 | 86 |  | 15.0444
[12 empty] | L55EP2 | 103 | (counted twice)
CC plate | ID | time (s) | temp (C ) | vol added to CC | oocysts added | Dots? | foci | ration infect | max infectious | LRV (greater than since all zeros) | combined for 3 reps
1 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 1746.6667 | Y | 0 |  | 946.6667 | 2.9762 | 3.4533 |  | for cell culture analyse either 100 or 1000 oocysts (10uL of 1e2/uL or 100 uL of 1e0/uL)
2 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 1746.6667 | Y | 0 |  | 946.6667 | 2.9762
3 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 1746.6667 | Y | 0 |  | 946.6667 | 2.9762
4 | 25-55(15)-25 | 15 | 55 | 200 (-2 diln) | 174.6667 | Y | 0 |  | 94.6667 | 1.9762
5 | 25-55(15)-25 | 15 | 55 | 200 (-2 diln) | 174.6667 | N | 0 |  | 94.6667 | 1.9762
6 | 25-55(15)-25 | 15 | 55 | 200 (-2 diln) | 174.6667 | N | 0 |  | 94.6667 | 1.9762
7 | 25-55(30)-25 | 30 | 55 | 20 (neat) | 1746.6667 | Y | 0 |  | 946.6667 | 2.9762
8 | 25-55(30)-25 | 30 | 55 | 20 (neat) | 1746.6667 | Y | 0 |  | 946.6667 | 2.9762
9 | 25-55(30)-25 | 30 | 55 | 20 (neat) | 1746.6667 | Y | 0 |  | 946.6667 | 2.9762
10 | 25-65(15)-25 | 15 | 66 | 20 (neat) | 1746.6667 |  | 0 |  | 946.6667 | 2.9762
11 | 25-65(15)-25 | 15 | 65 | 20 (neat) | 1746.6667 |  | 0 |  | 946.6667 | 2.9762
12 | 25-65(15)-25 | 15 | 65 | 20 (neat) | 1746.6667 |  | 0 |  | 946.6667 | 2.9762
13 | 25-75(5)-25 | 5 | 75 | 20 (neat) | 1746.6667 |  | 0 |  | 946.6667 | 2.9762
14 | 25-75(5)-25 | 5 | 75 | 20 (neat) | 1746.6667 |  | 0 |  | 946.6667 | 2.9762
15 | 25-75(5)-25 | 5 | 75 | 20 (neat) | 1746.6667 |  | 0 |  | 946.6667 | 2.9762
16 | room temp control |  |  | 200 (-2 diln) | 174.6667 |  | 109 | 0.62405
17 | room temp control |  |  | 200 (-2 diln) | 174.6667 |  | 86 | 0.49237
18 | room temp control |  |  | 200 (-2 diln) | 174.6667 |  | 89 | 0.50954
|  |  |  | average infectivity = |  | 0.54198
|  |  |  | stdev |  | 0.071584
Note on G22: mo000931: some samples had individual dots but no foci - probably sporozoites too damaged to replicate

## Crypto expt 4Jun
Temperature inactivation exp design | [9 empty] | 2014-06-04
Target temperatures (C) : |  |  |  |  | 55
Initial hold times (sec) |  |  |  |  | 15
test vol 120 uL
L55EP2 | description |  |  | vol to analyse
1 | 25-55(15)-25 |  |  | 20 x 4 tubes
2 | 25-55(15)-25 |  |  | 20 x 4 tubes
3 | 25-55(15)-25 |  |  | 20 x 2 tubes
4 | 25-55(15)-25 |  |  | 100 | [9 empty] | stock is 1e4/uL | 12+988
5 | 25-55(15)-25 |  |  | 100 | [6 empty] | test org Crypto |  |  | target 1e2/uL
6 | 25-55(15)-25 |  |  | 100 | + 100 of control | [7 empty] | dilute crypto directly into P2
7 | 25-55(15)-25 |  |  | 100 | + 100 of control | [7 empty] | aliquot 120uL into tubes |  | 11100 | 111 | oocysts/uL
8 | room temp control |  |  | 100 of diln
[13 empty] | dilute working stock |  | 10+990
1oocyst/uL
stain 100uL of dilution for counting + 30 stain + 870 PBS
CC plate | ID | time (s) | temp (C ) | vol added to CC | oocysts added | Dots? | foci | ration infect | max infectious | LRV (greater than since all zeros) |  |  |  | count | Average
1 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 2220 |  | >250 |  | 973.3333 |  |  |  | L55EP2 | 113 | 111 | 1.11 | oocysts /uL
2 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 2220 |  | >250 |  | 973.3333 |  |  |  | L55EP2 | 109 | 2
3 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 2220 |  | >200 |  | 973.3333 |  |  |  | L55EP2 | 111
4 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 2220 |  | >230 |  | 973.3333
5 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 2220 |  | 116 | 0.052252 | 973.3333 | 0.9238 | combined for 3 reps
6 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 2220 |  | 126 | 0.056757 | 973.3333 | 0.88789 | 0.97047 |  | for cell culture analyse either 100 or 1000 oocysts (10uL of 1e2/uL or 100 uL of 1e0/uL)
7 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 2220 |  | 173 | 0.077928 | 973.3333 | 0.75022
8 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 2220 |  | 176 | 0.079279 | 973.3333 | 0.74275
9 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 2220 |  | 187 | 0.084234 | 973.3333 | 0.71642
10 | 25-55(15)-25 | 15 | 55 | 20 (neat) | 2220 |  | 146 | 0.065766 | 973.3333 | 0.82391
11 | 25-55(15)-25 | 15 | 55 | 100 (neat) | 11100 |  | 222 | 0.02 | 4866.6667 | 1.3409
12 | 25-55(15)-25 | 15 | 55 | 100 (neat) | 11100 |  | >300 |  | 4866.6667
13 | 25-55(15)-25 | 15 | 55 | 100 (neat) + 100 control | 11211 |  | >300 |  | 4915.3333
14 | 25-55(15)-25 | 15 | 55 | 100 (neat) + 100 control | 11211 |  | 245 | 0.021854 | 4915.3333 | 1.3024 |  | 196.3333 |  | 1.3986
15 | 25-55(15)-25 | 15 | 55 | 100 (neat) + 100 control | 11211 |  | 265 | 0.023637 | 4915.3333 | 1.2683 |  | 217.5 |  | 1.3541
16 | room temp control |  |  | 100 (-2 diln) | 111 |  | 51 | 0.45946
17 | room temp control |  |  | 100 (-2 diln) | 111 |  | 49 | 0.44144
18 | room temp control |  |  | 100 (-2 diln) | 111 |  | 46 | 0.41441
[5 empty] | average infectivity = |  | 0.43844
[5 empty] | stdev |  | 0.022672
Note on G17: mo000931: some samples had individual dots but no foci - probably sporozoites too damaged to replicate

## Crypto expt 18Jun
Temperature inactivation exp design | [7 empty] | 2014-06-18
Target temperatures (C) : |  |  | 65
Initial hold times (sec) |  |  | 15
test vol 120 uL
L55EP2 | description | vol to analyse
1 | 25-65(15)-25 | 20 x 4 tubes
2 | 25-65(15)-25 | 20 x 4 tubes
3 | 25-65(15)-25 | 20 x 2 tubes
4 | 25-65(15)-25 | 100 | [8 empty] | stock is 1e4/uL | 12+988
5 | 25-65(15)-25 | 100 | [6 empty] | test org Crypto |  | target 1e2/uL
6 | 25-65(15)-25 | 100 | + 100 of control |  | ran out of oocysts |  |  |  |  | dilute crypto directly into P2
7 | 25-65(15)-25 | 100 | + 100 of control |  | ran out of oocysts |  |  |  |  | aliquot 120uL into tubes |  | 3000 | 30 | oocysts/uL
8 | room temp control | 100 of diln
[10 empty] | dilute working stock |  | 10+990
1oocyst/uL
stain 100uL of dilution for counting + 30 stain + 870 PBS
CC plate | ID | vol added to CC | oocysts added | Dots? | foci | ration infect | max infectious | LRV (greater than since all zeros) |  |  | count
1 | 25-65(15)-25 | 20 (neat) | 600 |  | 0 | 0 | 183.3333 | 2.2632 |  | L55EP2 | 31 | 30 | 0.3 | oocysts /uL
2 | 25-65(15)-25 | 20 (neat) | 600 |  | 0 | 0 | 183.3333 | 2.2632 |  | L55EP2 | 30 | 1
3 | 25-65(15)-25 | 20 (neat) | 600 |  | 0 | 0 | 183.3333 | 2.2632 |  | L55EP2 | 29
4 | 25-65(15)-25 | 20 (neat) | 600 |  | 0 | 0 | 183.3333 | 2.2632
5 | 25-65(15)-25 | 20 (neat) | 600 |  | 0 | 0 | 183.3333 | 2.2632 | combined for all reps (LRV calculated for killing all oocysts applied to CC)
6 | 25-65(15)-25 | 20 (neat) | 600 |  | 0 | 0 | 183.3333 | 2.2632 | 3.8073 | for cell culture analyse either 100 or 1000 oocysts (10uL of 1e2/uL or 100 uL of 1e0/uL)
7 | 25-65(15)-25 | 20 (neat) | 600 |  | 0 | 0 | 183.3333 | 2.2632
8 | 25-65(15)-25 | 20 (neat) | 600 |  | 0 | 0 | 183.3333 | 2.2632
9 | 25-65(15)-25 | 20 (neat) | 600 |  | 0 | 0 | 183.3333 | 2.2632
10 | 25-65(15)-25 | 20 (neat) | 600 |  | 0 | 0 | 183.3333 | 2.2632
11 | 25-65(15)-25 | 100 (neat) | 3000 |  | 0 | 0 | 916.6667 | 2.9622
12 | 25-65(15)-25 | 100 (neat) | 3000 |  | 0 | 0 | 916.6667 | 2.9622
13 | 25-65(15)-25 | 100 (neat) | 3000 |  | 0 | 0 | 916.6667 | 2.9622
14 | 25-65(15)-25 | 100 (neat) | 3000 |  | 0 | 0 | 916.6667 | 2.9622
15 | 25-65(15)-25 | 100 (neat) | 3000 |  | 0 | 0 | 916.6667 | 2.9622
16 | 25-65(15)-25 | 100 (neat) | 3000 |  | 0 | 0
17 | room temp control | 200 (-2 diln) | 60 |  | 17 | 0.28333
18 | room temp control | 200 (-2 diln) | 60 |  | 19 | 0.31667
19 | room temp control | 200 (-2 diln) | 60 |  | 19 | 0.31667
|  |  | average infectivity = |  | 0.30556
|  |  | stdev |  | 0.17401
Note on F17: mo000931: some samples had individual dots but no foci - probably sporozoites too damaged to replicate

## Giardia expt 5Aug
Excystation exp design |  | 2014-08-05
Target temperatures (C) : | NA
Initial hold times (sec) | NA
30 stain added to washed cysts + PBS made up to 1 mL

## Ec expt 22May
Temperature inactivation exp design | [5 empty] | 2014-05-22
Target temperatures (C) : |  |  | 65 |  |  |  | use lab ecoli or WW isolated ecoli
Initial hold times (sec) |  |  | 5,30,60
[7 empty] | test vol 120 uL |  | target - 1e3 / uL | assume 1e8/mL stock
1e5/uL
Sample ID | L55EP2 | description | Hold time (s) | comment |  |  | test org E coli | resusp ON culture in same vol of P2 then dilute in P2 water 1/100
1 | lab | 25-65(5)-25 | 5 | anticipate around 1e5 |  |  |  | aliquot 120 uL into appropriate tube
2 | WW | 25-65(5)-25 | 5 | anticipate around 1e5 |  |  |  | transfer to 120 mL sterile water / PBS
3 | lab | 25-65(30)-25 | 30 | anticipate around 1e3
4 | WW | 25-65(30)-25 | 30 | anticipate around 1e3
5 | lab | 25-65(60)-25 | 60 | anticipate around 0
6 | WW | 25-65(60)-25 | 60 | anticipate around 0
7 | lab | control |  | anticipate around 1e6
8 | WW | control |  | anticipate around 1e6
Results |  |  |  | yellow = 0 detection |  | green = greater than
|  |  |  | Ec | Fc | time | LRV
1 | lab | 25-65(5)-25 | 5 | 2100000 | 2100000 | 5 | -0.24304
2 | WW | 25-65(5)-25 | 5 | 1500000 | 1500000 | 5 | 0.5141
3 | lab | 25-65(30)-25 | 30 | 740 | 740 | 30 | 3.2099
4 | WW | 25-65(30)-25 | 30 | 77000 | 77000 | 30 | 1.8037
5 | lab | 25-65(60)-25 | 60 | 1 | 0 | 60 | 6.0792
6 | WW | 25-65(60)-25 | 60 | 1 | 1 | 60 | 6.6902
7 | lab | control |  | 1200000 | 1200000
8 | WW | control |  | 4900000 | 4900000

## Ec expt 27May
Temperature inactivation exp design | [5 empty] | 2014-05-27
Target temperatures (C) : |  |  | 65 | [5 empty] | use lab ecoli or WW isolated ecoli
Initial hold times (sec) |  |  | 30,45,60
[9 empty] | test vol 120 uL |  | target - 1e3 / uL | assume 1e8/mL stock
1e5/uL
Sample ID | L55EP2 | description | Hold time (s) | comment |  |  | result |  | test org E coli | resusp ON culture in same vol of P2 then dilute in P2 water 1/100
9 | lab | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 140000 | double checked these, look legit |  | aliquot 120 uL into appropriate tube
10 | lab | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 40000 | double checked these, look legit |  | transfer to 120 mL sterile water / PBS
11 | lab | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 14000 | double checked these, look legit
12 | WW | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 140000
13 | WW | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 190000
14 | WW | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 210000
15 | lab | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 1
16 | lab | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 0
17 | lab | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 1
18 | WW | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 0
19 | WW | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 2
20 | WW | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 3
21 | lab | 25-65(60)-25 | 60 | anticipate around 0 |  |  | 1
22 | lab | 25-65(60)-25 | 60 | anticipate around 0 |  |  | 0
23 | WW | 25-65(60)-25 | 60 | anticipate around 0 |  |  | 0
24 | WW | 25-65(60)-25 | 60 | anticipate around 0 |  |  | 2
25 | lab | control |  | anticipate around 1e6 |  |  | 3500000
26 | lab | control |  | anticipate around 1e6 |  |  | 4600000
27 | lab | control |  | anticipate around 1e6 |  |  | 4100000
28 | WW | control |  | anticipate around 1e6 |  |  | 5500000
29 | WW | control |  | anticipate around 1e6 |  |  | 5600000
30 | WW | control |  | anticipate around 1e6 |  |  | 5500000
Results |  |  |  | yellow = 0 detection |  | green = greater than
|  |  |  | mean | stdev | time | LRV | %RSD
4 | lab | control | 0 | 4066666.6667 | 550757.0547 | 0 | 0 | 13.5432
1 | lab | 25-65(30)-25 | 30 | 64666.6667 | 66523.1789 | 30 | 1.7986 | 102.8709
2 | lab | 25-65(45)-25 | 45 | 0.66667 | 0.57735 | 45 | 6.7853 | 86.6025
3 | lab | 25-65(60)-25 | 60 | 0.5 | 0.70711 | 60 | 6.9103 | 141.4214
8 | WW | control | 0 | 5533333.3333 | 57735.0269 | 0 | 0 | 1.0434
5 | WW | 25-65(30)-25 | 30 | 180000 | 36055.5128 | 30 | 1.4877 | 20.0308
6 | WW | 25-65(45)-25 | 45 | 1.6667 | 2 | 45 | 6.5211 | 120
7 | WW | 25-65(60)-25 | 60 | 1 | 1.4142 | 60 | 6.743 | 141.4214

## Ec expt 4Jun
Temperature inactivation exp design | [5 empty] | 2014-06-04
Target temperatures (C) : |  |  | 65 | [6 empty] | use lab ecoli or WW isolated ecoli
Initial hold times (sec) |  |  | 30,45,60
[10 empty] | test vol 120 uL |  | target - 1e3 / uL | assume 1e8/mL stock
1e5/uL
Sample ID | L55EP2 | description | Hold time (s) | comment |  |  | result |  |  | test org E coli | resusp ON culture in same vol of P2 then dilute in P2 water 1/100
1 | lab | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 7200 |  |  |  | aliquot 120 uL into appropriate tube
2 | lab | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 690 |  |  |  | transfer to 120 mL sterile water / PBS
3 | lab | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 29000
4 | WW | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 270000
5 | WW | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 600000
6 | WW | 25-65(30)-25 | 30 | anticipate around 1e3-4 |  |  | 460000
7 | lab | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 0
8 | lab | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 0
9 | lab | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 0
10 | WW | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 440
11 | WW | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 630
12 | WW | 25-65(45)-25 | 45 | anticipate around 1e2 |  |  | 270
13 | lab | 25-65(60)-25 | 60 | anticipate around 0 |  |  | 0
14 | lab | 25-65(60)-25 | 60 | anticipate around 0 |  |  | 0
15 | lab | 25-65(60)-25 | 60 | anticipate around 0 |  |  | 0
16 | WW | 25-65(60)-25 | 60 | anticipate around 0 |  |  | 49
17 | WW | 25-65(60)-25 | 60 | anticipate around 0 |  |  | 58
18 | WW | 25-65(60)-25 | 60 | anticipate around 0 |  |  | 99
19 | lab | control |  | anticipate around 1e6 |  |  | 2600000
20 | lab | control |  | anticipate around 1e6 |  |  | 2900000
21 | lab | control |  | anticipate around 1e6 |  |  | 3800000
22 | WW | control |  | anticipate around 1e6 |  |  | 3800000
23 | WW | control |  | anticipate around 1e6 |  |  | 2300000
24 | WW | control |  | anticipate around 1e6 |  |  | 2500000
Results |  |  |  | yellow = 0 detection |  | green = greater than
|  |  |  | mean | stdev | time | LRV | %RSD
1 | lab | control | 0 | 3100000 | 624499.7998 | 0 | 0 | 20.1452
2 | lab | 25-65(30)-25 | 30 | 12296.6667 | 14827.2059 | 30 | 2.4016 | 120.5791
3 | lab | 25-65(45)-25 | 45 | 0 | 0 | 45 | 6.4914 | #DIV/0! | greater than result
4 | lab | 25-65(60)-25 | 60 | 0 | 0 | 60 | 6.4914 | #DIV/0!
5 | WW | control | 0 | 2866666.6667 | 814452.7815 | 0 | 0 | 28.4111
6 | WW | 25-65(30)-25 | 30 | 443333.3333 | 165630.11 | 30 | 0.81065 | 37.3602
7 | WW | 25-65(45)-25 | 45 | 446.6667 | 300 | 45 | 3.8074 | 67.1642
8 | WW | 25-65(60)-25 | 60 | 24.5 | 34.6482 | 60 | 5.0682 | 141.4214

## Enterococci expt 29May
Temperature inactivation exp design |  |  |  |  | 2014-05-29
Target temperatures (C) : |  |  | 65 |  |  |  | use WW isolated entero
Initial hold times (sec) |  |  | 1,30,60
[7 empty] | test vol 120 uL |  | target - 1e3 / uL | assume 1e8/mL stock
1e5/uL
Sample ID | L55EP2 | description |  | comment |  | result | test org L55EP2 Ent | resusp ON culture in same vol of P2 then dilute in P2 water 1/100
7 | WW | 25-65(1)-25 |  | anticipate around 1e6 |  |  |  | aliquot 120 uL into appropriate tube
8 | WW | 25-65(30)-25 |  | anticipate around 1e0-5 |  |  |  | transfer to 120 mL sterile water / PBS
9 | WW | 25-65(60)-25 |  | anticipate around 1e0-4
10 | WW | control |  | anticipate around 1e6
Results
|  |  | time (sec) | Ent | time (sec) | LRV
7 | WW | 25-65(1)-25 | 1 | 1200000 | 1 | -0.037789
8 | WW | 25-65(30)-25 | 30 | 250000 | 30 | 0.64345
9 | WW | 25-65(60)-25 | 60 | 8100 | 60 | 2.1329
10 | WW | control | 0 | 1100000 | 0
5
6
7
8

## Enterococci expt 12June
Temperature inactivation exp design | [5 empty] | 2014-06-12
Target temperatures (C) : |  |  | 65 | [6 empty] | use WW isolated entero
Initial hold times (sec) |  |  | 30,45,60
do each heat exposure separately | [9 empty] | test vol 120 uL |  |  | target - 1e3 / uL | assume 1e8/mL stock
1e5/uL
Sample ID | L55EP2 | description | time (s) | temp (C ) | comment |  |  | result |  |  | test org L55EP2 Ent | resusp ON culture in same vol of P2 then make 3x samples diluted in P2 water 1/100
11 | WW1 | 25-65(30)-25 | 30 | 65 | anticipate around 1e5 |  |  | 240000 |  |  |  | aliquot 120 uL into appropriate tube
12 | WW1 | 25-65(45)-25 | 45 | 65 | anticipate around 1e4-5 |  |  | 28000 |  |  |  | transfer to 140 mL sterile water / PBS
13 | WW1 | 25-65(60)-25 | 60 | 65 | anticipate around 1e3-4 |  |  | 24000
14 | WW1 | 25-75(5)-25 | 5 | 75 | anticipate around 1e2-4 |  |  | 220000
15 | WW2 | 25-65(30)-25 | 30 | 65 | anticipate around 1e5 |  |  | 450000
16 | WW2 | 25-65(45)-25 | 45 | 65 | anticipate around 1e4-5 |  |  | 58000
17 | WW2 | 25-65(60)-25 | 60 | 65 | anticipate around 1e3-4 |  |  | 4000
18 | WW2 | 25-75(5)-25 | 5 | 75 | anticipate around 1e2-4 |  |  | 32000
19 | WW3 | 25-65(30)-25 | 30 | 65 | anticipate around 1e5 |  |  | 310000
20 | WW3 | 25-65(45)-25 | 45 | 65 | anticipate around 1e4-5 |  |  | 100000
21 | WW3 | 25-65(60)-25 | 60 | 65 | anticipate around 1e3-4 |  |  | 14000
22 | WW3 | 25-75(5)-25 | 5 | 75 | anticipate around 1e2-4 |  |  | 1700
23 | WW1 | control |  |  | anticipate around 1e6 |  |  | 1200000 | 1366666.6667
24 | WW2 | control |  |  | anticipate around 1e6 |  |  | 1200000
25 | WW3 | control |  |  | anticipate around 1e6 |  |  | 1700000
26 | 140mL of L55EP2 |  |  |  | anticipate around 1e0-4 |  |  | 590
Results
|  |  | time (s) | temp (C ) | LRV |  |  | Average | St Dev
11 | WW1 | 25-65(30)-25 | 30 | 65 | 0.75545 | 65 | 30 | 0.6274 | 0.13728
12 | WW1 | 25-65(45)-25 | 45 | 65 | 1.6885 | 65 | 45 | 1.3988 | 0.27738
13 | WW1 | 25-65(60)-25 | 60 | 65 | 1.7555 | 65 | 60 | 2.0929 | 0.39923
14 | WW1 | 25-75(5)-25 | 5 | 75 | 0.79324 | 75 | 5 | 1.7763 | 1.0635
15 | WW2 | 25-65(30)-25 | 30 | 65 | 0.48245
16 | WW2 | 25-65(45)-25 | 45 | 65 | 1.3722
17 | WW2 | 25-65(60)-25 | 60 | 65 | 2.5336
18 | WW2 | 25-75(5)-25 | 5 | 75 | 1.6305
19 | WW3 | 25-65(30)-25 | 30 | 65 | 0.6443
20 | WW3 | 25-65(45)-25 | 45 | 65 | 1.1357
21 | WW3 | 25-65(60)-25 | 60 | 65 | 1.9895
22 | WW3 | 25-75(5)-25 | 5 | 75 | 2.9052

## Enterococci expt 19June
Temperature inactivation exp design | [5 empty] | 2014-06-19
Target temperatures (C) : |  |  | 75 | [6 empty] | use WW isolated entero
Initial hold times (sec) |  |  | 15,30,45,60
do each heat exposure separately | [9 empty] | test vol 120 uL |  | target - 1e3 / uL | assume 1e8/mL stock
1e5/uL
Sample ID | L55EP2 | description |  | comment |  |  | result |  |  | test org L55EP2 Ent | resusp ON culture in same vol of P2 then make 3x samples diluted in P2 water 1/100
1 | WW1 | 25-75(15)-25 |  | anticipate around 1e3-5 |  |  | 35 |  |  |  | aliquot 120 uL into appropriate tube
2 | WW1 | 25-75(30)-25 |  | anticipate around 1e2-4 |  |  | 0 |  |  |  | transfer to 140 mL sterile water / PBS
3 | WW1 | 25-75(45)-25 |  | anticipate around 1e1-3 |  |  | 0
4 | WW1 | 25-75(60)-25 |  | anticipate around 1e1-2 |  |  | 0
5 | WW2 | 25-75(15)-25 |  | anticipate around 1e3-5 |  |  | 1300
6 | WW2 | 25-75(30)-25 |  | anticipate around 1e2-4 |  |  | 0
7 | WW2 | 25-75(45)-25 |  | anticipate around 1e1-3 |  |  | 0
8 | WW2 | 25-75(60)-25 |  | anticipate around 1e1-2 |  |  | 0
9 | WW3 | 25-75(15)-25 |  | anticipate around 1e3-5 |  |  | 3200
10 | WW3 | 25-75(30)-25 |  | anticipate around 1e2-4 |  |  | 0
11 | WW3 | 25-75(45)-25 |  | anticipate around 1e1-3 |  |  | 0
12 | WW3 | 25-75(60)-25 |  | anticipate around 1e1-2 |  |  | 0
13 | WW1 | control |  | anticipate around 1e6 |  |  | 830000 | 800000
14 | WW2 | control |  | anticipate around 1e6 |  |  | 750000
15 | WW3 | control |  | anticipate around 1e6 |  |  | 820000
16 | 140mL of L55EP2 |  |  | anticipate around 1e2-3 |  |  | 290
Results |  |  |  |  | yellow=greater than |  |  | Average | St Dev
|  |  |  | time (sec) | LRV | temp (c) | 5 | 1.7763 | 1.0635
1 | WW1 | 25-65(30)-25 |  | 15 | 4.359 | 65 | 15 | 3.182 | 1.0379
2 | WW1 | 25-65(45)-25 |  | 30 | 5.9031 | 65 | 30 | 5.9031 | 0
3 | WW1 | 25-65(60)-25 |  | 45 | 5.9031 | 65 | 45 | 5.9031 | 0
4 | WW1 | 25-75(5)-25 |  | 60 | 5.9031 | 75 | 60 | 5.9031 | 0
5 | WW2 | 25-65(30)-25 |  | 15 | 2.7891
6 | WW2 | 25-65(45)-25 |  | 30 | 5.9031
7 | WW2 | 25-65(60)-25 |  | 45 | 5.9031
8 | WW2 | 25-75(5)-25 |  | 60 | 5.9031
9 | WW3 | 25-65(30)-25 |  | 15 | 2.3979
10 | WW3 | 25-65(45)-25 |  | 30 | 5.9031
11 | WW3 | 25-65(60)-25 |  | 45 | 5.9031
12 | WW3 | 25-75(5)-25 |  | 60 | 5.9031

## Adeno2 expt 17 June
Temperature inactivation exp design | [5 empty] | 2014-06-17
Target temperatures (C) : |  |  | 55, 65, 75 | [5 empty] | Adenovirus 2 (24.6.13) |  |  |  | assume 8.5e8/mL stock
Initial hold times (sec) |  |  | 1, 30, 60 | [9 empty] | 29856250
do each heat exposure separately | [8 empty] | test vol 120 uL |  |  |  | target -3e7 /ml (126.45uL into 3.6mL L55EP2)
Sample ID | L55EP2 | description |  | comment |  |  | result |  | test org L55EP2 Ent
1 | [6 empty] | 0 |  |  |  | aliquot 120 uL into appropriate tube
2 | [6 empty] | 0 |  |  | Dilute neat 1:1 with 2x MEMM
3 | [6 empty] | 0 |  |  | Further dilutions were done with 1x MEMM
4 | [6 empty] | 0 |  |  | Assay vol 100uL |  | anticipate |  | 1492812.5 | pfu/well
5 | [6 empty] | 0 | [6 empty] | 14928125 | pfu/mL
6 | [6 empty] | 0
7 | [6 empty] | 50000000
8 | [6 empty] | 300000
9 | [6 empty] | 0
13 |  |  |  | anticipate around 1.5e7 |  |  | 39000000 | 41666666.6667
14 |  |  |  | anticipate around 1.5e7 |  |  | 38000000
15 |  |  |  | anticipate around 1.5e7 |  |  | 48000000
Results |  |  |  |  | yellow=greater than
|  |  |  | time (s) | temp (C ) | LRV
1 |  | 25-75(1)-25 |  | 1 | 75 | 7.6198
2 |  | 25-75(30)-25 |  | 30 | 75 | 7.6198
3 |  | 25-75(60)-25 |  | 60 | 75 | 7.6198
4 |  | 25-65(1)-25 |  | 1 | 65 | 7.6198
5 |  | 25-65(30)-25 |  | 30 | 65 | 7.6198
6 |  | 25-65(60)-25 |  | 60 | 65 | 7.6198
7 |  | 25-55(1)-25 |  | 1 | 55 | -0.079181
8 |  | 25-55(30)-25 |  | 30 | 55 | 2.1427
9 |  | 25-55(60)-25 |  | 60 | 55 | 7.6198

## Adeno2 expt 8 July
Temperature inactivation exp design | [5 empty] | 2014-07-08
Target temperatures (C) : |  |  | 55 | [6 empty] | Adenovirus 2 (24.6.13) |  |  |  | assume 8.5e8/mL stock
Initial hold times (sec) |  |  | 0, 15, 30, 60 | [10 empty] | 29856250
do each test exposure separately (n=3) | [9 empty] | test vol 120 uL |  |  |  | target -3e7 /ml (126.45uL into 3.6mL L55EP2)
test org L55EP2 Ent
aliquot 120 uL into appropriate tube
Dilute neat 1:1 with 2x MEMM
Further dilutions were done with 1x MEMM
[11 empty] | Assay vol 100uL |  | anticipate |  | 1492812.5 | pfu/well
[15 empty] | 14928125 | pfu/mL
| dilution | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3
55oC, 15S | -4 | 85 | >100 | >100 | >100 | >100 | >100 | >100 | >100 | >100
| -5 | 12 | 12 | 9 | 7 | 27 | 22 | 28 | 22 | 12
55oC, 30S | -3 | 8 | 35 | 31 | 15 | 15 | 7 | 18 | 24 | 34
| -4 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 2 | 1
55oC, 60S | N | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | -5 | 28 | 29 | 26 | 38 | 26 | 28 | 29 | 31 | 27
| -6 | Rep1: 2; Rep2: 3; Rep3: 5
| N=1 | Rep1: N=2; Rep2: N=3
Time | Rep1 | Rep2 | Rep3 | Ave | Rep1 | Rep2 | Rep3 | Ave | Rep1 | Rep2 | Rep3 | Ave | dilution
0 | 28 | 29 | 26 | 27.6667 | 38 | 26 | 28 | 30.6667 | 29 | 31 | 27 | 29 | 2000000
15 | 12 | 12 | 9 | 11 | 7 | 27 | 22 | 18.6667 | 28 | 22 | 12 | 20.6667 | 2000000
30 | 8 | 35 | 31 | 24.6667 | 15 | 15 | 8 | 12.6667 | 18 | 24 | 34 | 25.3333 | 20000
60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20
| 1 | Rep1: 2; Rep2: 3; Rep3: LRV
0 | 55333333.3333 | 61333333.3333 | 58000000 | 7.743 | 7.7877 | 7.7634 |  |  |  | Ave | sdev
15 | 18000000 | 37333333.3333 | 41333333.3333 | 7.2553 | 7.5721 | 7.6163 | 0.48771 | 0.2156 | 0.14713 | 0.28348 | 0.18015
30 | 493333.3333 | 253333.3333 | 506666.6667 | 5.6931 | 5.4037 | 5.7047 | 2.0498 | 2.384 | 2.0587 | 2.1642 | 0.19042
60 | 0 | 0 | 0 | 0 | 0 | 0 | 7.743 | 7.7877 | 7.7634 | 7.7647 | 0.022382 | greater than result

## CB5 expt 22 July
Temperature inactivation exp design | [5 empty] | 2014-07-22
Target temperatures (C) : |  |  | 55, 65, 75 |  |  |  |  | Stock concentration | 4.8x108 | pfu/ml
Initial hold times (sec) |  |  | 1, 30, 60 |  |  |  |  | target | 2x108 | pfu/ml
do each heat exposure separately | [7 empty] | need 1.5ml of stock + 2.1ml L55EP2
aliqout 120uL
Neat (100uL sample + 100uL 2xMEMM +P/S) 1/2 dilution
carried serial dilution in 1xMEMM+ P/S
inoculated 100uL/well (x10 to get ml/well)
dilution |  |  | -4 | -5 | -6
control |  |  | >100 | >100 | 7,13,10 |  | 10000000 | 7
negative |  |  | 0,0,0
dilution |  |  | N | -2 | -4 | -6
| time (s) | Temp (C ) | [5 empty] | LV
25-55(1)-25 | 1 | 55 | >100 | >100 | 3 | 6 | 30000 | 4.4771
25-55(30)-25 | 30 | 55 | >100 | 0 | 0 | 0 | 100 | 2
25-55(60)-25 | 60 | 55 | 23 | 0 | 0 | 0 | 23 | 1.3617
25-65(1)-25 | 1 | 65 | 98 | 0 | 0 | 0 | 98 | 1.9912
25-65(30)-25 | 30 | 65 | 0 | 0 | 0 | 0 | 0 | 0
25-65(60)-25 | 60 | 65 | 0 | 0 | 0 | 0 | 0 | 0
25-75(1)-25 | 1 | 75 | 0 | 0 | 0 | 0 | 0 | 0
25-75(30)-25 | 30 | 75 | 0 | 0 | 0 | 0 | 0 | 0
25-75(60)-25 | 60 | 75 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 55 | 65 | 75
|  | 1 | 2.5229 | 5.0088 | 7 |  | estimate
|  | 30 | 5 | 7 | 7 |  | greater than
|  | 60 | 5.6383 | 7 | 7

## CB5 expt 29 July
Temperature inactivation exp design | [5 empty] | 2014-07-22
Target temperatures (C) : |  |  | 55 | [5 empty] | Stock concentration |  | 4.8x108 | pfu/ml
Initial hold times (sec) |  |  | 15,30,60s | [5 empty] | target |  | 2x108 | pfu/ml
do each test exposure separately (n=3) | [8 empty] | need 625ul of stock + 875ul L55EP2, 3 tubes (n=3)
aliqout 120uL
Neat (100uL sample + 100uL 2xMEMM +P/S) 1/2 dilution
carried serial dilution in 1xMEMM+ P/S
inoculated 100uL/well (x10 to get ml/well)
| dilution | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3
55oC, 15S | -1 | 4 | 6 | 12 | 12 | 9 | 11 | 5 | 11 | 11
| -2 | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 1
55oC, 30S | -1 | 17 | 11 | 2 | 3 | 10 | 3 | 1 | 17 | 10
55oC, 60S | N | 1 | 5 | 2 | 32 | 6 | 8 | 62 | 8 | 41
0 | -5 | >100 | >100 | >100 | >100 | >100 | >100 | >100 | >100 | >100
| -6 | 14 | 13 | 8 | 14 | 14 | 15 | 12 | 10 | 15
| N=1 | Rep1: N=2; inoculated 100uL/well (x10 to get ml/well) Rep2: N=3
Time | Rep1 | Rep2 | Rep3 | Ave | Rep1 | Rep2 | Rep3 | Ave | Rep1 | Rep2 | Rep3 | Ave | dilution
0 | 280000000 | 260000000 | 160000000 | 233333333.3333 | 280000000 | 280000000 | 300000000 | 286666666.6667 | 240000000 | 200000000 | 300000000 | 246666666.6667 | 20000000
15 | 800 | 1200 | 2400 | 1466.6667 | 2400 | 1800 | 2200 | 2133.3333 | 1000 | 2200 | 2200 | 1800 | 200
30 | 3400 | 2200 | 400 | 2000 | 600 | 2000 | 600 | 1066.6667 | 200 | 3400 | 2000 | 1866.6667 | 200
60 | 20 | 100 | 40 | 53.3333 | 640 | 120 | 160 | 306.6667 | 1240 | 160 | 820 | 740 | 20
| 1 | Rep1: 2; Rep2: 3; Rep3: LRV
0 | 233333333.3333 | 286666666.6667 | 246666666.6667 | 8.368 | 8.4574 | 8.3921 |  |  |  | Ave | sdev
15 | 1466.6667 | 2133.3333 | 1800 | 3.1663 | 3.3291 | 3.2553 | 5.2016 | 5.0389 | 5.1127 | 5.1178 | 0.081481
30 | 2000 | 1066.6667 | 1866.6667 | 3.301 | 3.028 | 3.2711 | 5.0669 | 5.3399 | 5.0969 | 5.1679 | 0.14972
60 | 53.3333 | 306.6667 | 740 | 1.727 | 2.4867 | 2.8692 | 6.641 | 5.8813 | 5.4987 | 6.007 | 0.5814 | greater than result