## Index
Index of spreadsheets
Pond water quality 2014
Design 8May
Results 8May
MS2 Design 16May
MS2 Results 16May
MS2 Results 15&22 July
male specific 9 Oct
male specific 13 Oct
male specific 16 Oct
Crypto expt 21May
Crypto expt 28May
Crypto expt 4Jun
Crypto expt 18Jun
Giardia expt 5Aug
Ec expt 22May
Ec expt 27May
Ec expt 4Jun
Enterococci expt 29May
Enterococci expt 12June
Enterococci expt 19June
Adeno2 expt 17 June
Adeno2 expt 8 July
CB5 expt 22 July
CB5 expt 29 July

## Pond_water_quality_2014
Water Quality

	April	April	April		April	April	April		May	May	May		May	May	May
Pond	L55EP1	L55EP2	L55EP10		L25WP1	L25WP2	L25WP10		L55EP1	L55EP2	L55EP10		L25WP1	L25WP2	L25WP10
E coli	600	71000	7		140000	4500	42		58000	520000	6		140000	800	98
Faecal coliforms	1000	71000	29		230000	4500	42		97000	520000	15		140000	1000	98
Enterococci	130	48000	9		10000	350	5		1200	23000	0		5600	200	25
FRNA	165	30	680		95	1	<1
cond (EC)	1972	1550	1745		2030	2030	1754
pH	7.67	7.28	8.17		7.49	7.66	7.88
turbidity	32.4	8.49	1.79		39.6	9.44	9.82
Ammonia	68.4	67.8	<0.5		68.8	3.118	11.45		60.76	63.01	0.195		61.4	7.927	10.83
nitrate+nitrite	3.2	0.007	21.7		0.007	13.1	4.8		0.01	0.007	20.9		0.009	5.76	4.89
Phosphate	10.9	10.9	8.88		11.6	8.05	8.91		9.87	10.9	8.36		13.2	3.14	7.55
TKN	69.4	63.8	1.59		73.1	4.68	12.9		65.7	65.5	1.73		67.7	9.94	13.5
DOC	15.3	15.3	8.9		15.2	10	10.1		18.1	17.1	8.4		15.9	8.9	8.7
TOC	27.4	21.2	10.7		44.9	13.3	14.5		27.4	29.5	9.5		41	10.2	10.6
BOD	55	14	<2		41	6	17		46	24	<2		29	8	6
COD	174	104	223		225	92	131		153	127	84		159	72	90
cond (EC)	2060	2150	1860		2140	1700	1900		2020	2170	1700		2060	1690	1730
TDS	1100	1200	1000		1200	940	1000		1100	1200	940		1100	930	950
SS	68	12	4		50	6	17
VSS	48	11	2		42	5	11

## Design_8May
Temperature inactivation exp design					8/05/2014
Target temperatures (C) :			55	65	75
Initial hold times (sec)			5	60
				test vol 120 uL				target - 1e3 / uL			assume 1e8/mL stock
				1e5/uL
Sample ID	Pond	description		comment			test org E coli		resusp ON culture in same vol of P2 or P10 water, then dilture in P2 or P10 water 1/100
1	L55EP2	ramp 4-55-4		initially did ramp from to 4C, but modified to do it from ambient					aliquot 120 uL into appropriate tube
2	L55EP2	ramp 25-65-25					transfer to 120 mL sterile water / PBS
3	L55EP2	ramp 25-75-25
4	L55EP2	55 5
5	L55EP2	55 60					test org MS2			target 1e5/uL
6	L55EP2	65 5					dilute phage stock directly into P2 or P10 water
7	L55EP2	65 60					aliquot 120uL into tubes
8	L55EP2	75 5					transfer to 1.2 mL sterile water
9	L55EP2	75 60
10	L55EP2	control					reserve 1 mL of this to be the "neat" (closest to neat we can get)
11	L55EP10	ramp 4-55-4					use the rest for ten fold dilutions down to -6 (if the stock is correct there should be 1e7/mL in
12	L55EP10	ramp 25-65-25					do -4, -5 -6 dilutions for ramp, control, 55, 65
13	L55EP10	ramp 25-75-25					do neat, -2, -4 for the 75 ones
14	L55EP10	55 5
15	L55EP10	55 60
16	L55EP10	65 5
17	L55EP10	65 60
18	L55EP10	75 5
19	L55EP10	75 60
20	L55EP10	control

## Results_8May
Temperature inactivation exp design					8/05/2014	raw data in lab book					Ec	MS2
Target temperatures (C) :			55	65	75					Pond 2	6.612783857	7.278753601
Initial hold times (sec)			5	60					Pond 10	6.397940009	7.230448921
				test vol 120 uL					yellow cell = greater than result
				E coli	EcoliLRV	MS-2					MS-2	MS2LRV
Sample ID		description	time(s)	temp. (C )			N	-2	-4	-5	-6
1	L55EP2	ramp 4-55-4	1	55	3.70E+06	0.044582133			>	142	17	1.42E+07	0.126465257
2	L55EP2	ramp 25-65-25	1	65	2.40E+06	0.232572615			>	157	20	1.57E+07	0.082853949
3	L55EP2	ramp 25-75-25	1	75	0.00E+00	6.612783857			>	26	5	2.60E+06	0.863780253
4	L55EP2	55 5	5	55	2.00E+06	0.311753861			>	131	x	1.31E+07	0.161482305
5	L55EP2	55 60	60	55	1.40E+06	0.466655821			>	>	25	2.50E+07	-0.119186408
6	L55EP2	65 5	5	65	3.70E+05	1.044582133			>	193	29	1.93E+07	-0.006803708
7	L55EP2	65 60	60	65	0.00E+00	6.612783857			>	34	2	3.40E+06	0.747274684
8	L55EP2	75 5	5	75	0.00E+00	6.612783857	>	>	72			7.20E+05	1.421421105
9	L55EP2	75 60	60	75	0.00E+00	6.612783857	11	0	0			1.10E+01	6.237360916
10	L55EP2	control			4.10E+06	0			>	>	19	1.90E+07	0
11	L55EP10	ramp 4-55-4	1	55	2.40E+06	0.017728767			>	171	16	1.71E+07	-0.002547189
12	L55EP10	ramp 25-65-25	1	65	1.20E+06	0.318758763			>	176	21	1.76E+07	-0.015063746
13	L55EP10	ramp 25-75-25	1	75	0.00E+00	6.397940009			>	36	0	3.60E+06	0.674146421
14	L55EP10	55 5	5	55	1.80E+06	0.142667504			>	156	21	1.56E+07	0.037324323
15	L55EP10	55 60	60	55	1.40E+06	0.251811973			>	140	16	1.40E+07	0.084320886
16	L55EP10	65 5	5	65	2.40E+05	1.017728767			>	145	16	1.45E+07	0.069080919
17	L55EP10	65 60	60	65	0.00E+00	6.397940009			>	23	3	2.30E+06	0.868721085
18	L55EP10	75 5	5	75	0.00E+00	6.397940009	>	>	68			6.80E+05	1.397940009
19	L55EP10	75 60	60	75	0.00E+00	6.397940009	7	1	0			7.00E+00	6.385350881
20	L55EP10	control			2.50E+06	0			>	170	14	1.70E+07	0

## MS2_Design_16May
Temperature inactivation exp design					16/05/2014
Target temperatures (C) :				65, 75
Initial hold times (sec)				1, 5, 30, 60
				test vol 120 uL				target - 1e3 / uL			assume 1e8/mL stock
				1e5/uL
Sample ID	Spiked		description		comment			test org E coli		resusp ON culture in same vol of P2 or P10 water, then dilture in P2 or P10 water 1/100
1	yes	L55EP2	ramp 25-65-25		ramp is 1 sec hold					aliquot 120 uL into appropriate tube
2	yes	L55EP2	65 5 sec hold					transfer to 120 mL sterile water / PBS
3	yes	L55EP2	65 30 sec hold
4	yes	L55EP2	65 60 sec hold
5	yes	L55EP2	ramp 25-75-25				for spiked samples:	test org MS2			target 1e5/uL
6	yes	L55EP2	75 5 sec hold					dilute phage stock directly into P2 or P10 water
7	yes	L55EP2	75 30 sec hold					aliquot 120uL into tubes
8	yes	L55EP2	75 60 sec hold					transfer to 1.2 mL sterile water after heat treatment
9	yes	L55EP2	control
10	no	L55EP2	ramp 25-65-25					reserve 1 mL of this to be the "neat" (closest to neat we can get)
11	no	L55EP2	65 5 sec hold					use the rest for ten fold dilutions down to -6 (if the stock is correct there should be 1e7/mL in
12	no	L55EP2	65 30 sec hold					do -4, -5 -6 dilutions for ramp, control, 65
13	no	L55EP2	65 60 sec hold					do neat, -2, -4 for the 75 ones
14	no	L55EP2	ramp 25-75-25
15	no	L55EP2	75 5 sec hold				for not spiked sample			aliquot 120uL into tubes
16	no	L55EP2	75 30 sec hold					transfer to 1.2 mL sterile water after heat treatment
17	no	L55EP2	75 60 sec hold					reserve 1 mL of this to be the "neat" (closest to neat we can get)
18	no	L55EP2	control					plate neat, -1, -2
19	yes	L55EP10	ramp 25-65-25
20	yes	L55EP10	65 5 sec hold
21	yes	L55EP10	65 30 sec hold
22	yes	L55EP10	65 60 sec hold
23	yes	L55EP10	ramp 25-75-25
24	yes	L55EP10	75 5 sec hold
25	yes	L55EP10	75 30 sec hold
26	yes	L55EP10	75 60 sec hold
27	yes	L55EP10	control

## MS2_Results_16May_
Temperature inactivation exp design					16/05/2014	raw data in lab book					MS2
Target temperatures (C) :			65, 75					P2spiked		7.053078443		P2 unspiked		1.851258349
Initial hold times (sec)			1, 5, 30, 60					P10spiked		6.982271233
				test vol 120 uL					yellow cell = greater than result				yellow = greater than

				MS-2					MS-2	MS2LRV
Sample ID		description	time(s)	temp. (C )		N	-2	-4	-5	-6
1	L55EP2	ramp 25-65-25	1	65				>	128	12	12800000	-0.054131526		Ventura report:
2	L55EP2	65 5 sec hold	5	65				>	127	16	12700000	-0.050725277		different plaque morphology on unspiked? (hazy, not clear)
3	L55EP2	65 30 sec hold	30	65				>	92	12	9200000	0.089290616		for unspiked
4	L55EP2	65 60 sec hold	60	65				172	13	3	1720000	0.817549997
5	L55EP2	ramp 25-75-25	1	75				>	26	6	2600000	0.638105096
6	L55EP2	75 5 sec hold	5	75		>	>	101			1010000	1.04875707
7	L55EP2	75 30 sec hold	30	75		31	0	0			31	5.56171675
8	L55EP2	75 60 sec hold	60	75		0	0	0			0	7.053078443
9	L55EP2	control					>	113	11	11300000	0
10	L55EP2	ramp 25-65-25	1	65		80	4	1			80	-0.051831638
11	L55EP2	65 5 sec hold	5	65		72	6	1			72	-0.006074148
12	L55EP2	65 30 sec hold	30	65		33	1	0			33	0.332744409
13	L55EP2	65 60 sec hold	60	65		15	0	0			15	0.67516709
14	L55EP2	ramp 25-75-25	1	75		32	2	1			32	0.34610837
15	L55EP2	75 5 sec hold	5	75		25	1	0			25	0.45331834
16	L55EP2	75 30 sec hold	30	75		3	2	0			3	1.374137094
17	L55EP2	75 60 sec hold	60	75		2	0	0			2	1.550228353
18	L55EP2	control				71	5	0			71	0
19	L55EP10	ramp 25-65-25	1	65				>	133	12	13300000	-0.141580408
20	L55EP10	65 5 sec hold	5	65				>	104	9	10400000	-0.034762106
21	L55EP10	65 30 sec hold	30	65				>	67	8	6700000	0.15619643
22	L55EP10	65 60 sec hold	60	65				210	20	3	2100000	0.660051938
23	L55EP10	ramp 25-75-25	1	75				>	58	4	5800000	0.218843239
24	L55EP10	75 5 sec hold	5	75		>	>	87			870000	1.04275198
25	L55EP10	75 30 sec hold	30	75		21	2	0			21	5.660051938
26	L55EP10	75 60 sec hold	60	75		0	0	0			0	6.982271233
27	L55EP10	control					>	96	5	9600000	0

## MS2_Results_15&22_July
Temperature inactivation exp design					15/07/2014	raw data in lab book					MS2
Target temperatures (C) :			65, 75					P2spiked		6.232148706
Initial hold times (sec)			5, 30, 60
				test vol 120 uL					yellow cell = greater than result
				MS-2					MS-2					22/7 result
Sample ID		description	time(s)			N	-2	-4	-5	-6	Temp (c )		Log Value	LRV					SAMPLE	Dilution
1	L55EP2	65 5 sec hold	5					167			65	1670000	6.222716471	0.009040398	Ventura report:					N	-2	-4
2	L55EP2	65 30 sec hold	30					80			65	800000	5.903089987	0.328666882	different plaque morphology on unspiked? (hazy, not clear)					10 25-75(5)-25	>300	>300	25
3	L55EP2	65 60 sec hold	60					13			65	130000	5.113943352	1.117813517	for unspiked					11 25-75(30)-25	0	1	0
4	L55EP2	65 5 sec hold	5					121			65	1210000	6.08278537	0.148971499			(sec)	mean	stdev					12 25-75(60)-25	0	0	0
5	L55EP2	65 30 sec hold	30					78			65	780000	5.892094603	0.339662266		control	0	6.231756869	0.022487167					13 25-75(5)-25	>300	>300	26
6	L55EP2	65 60 sec hold	60					15			65	150000	5.176091259	1.05566561		65	5	0.072194166	0.070953361					14 25-75(30)-25	1	1	1
7	L55EP2	65 5 sec hold	5					149			65	1490000	6.173186268	0.058570601		65	30	0.277300052	0.098645559					15 25-75(60)-25	0	1	1
8	L55EP2	65 30 sec hold	30					117			65	1170000	6.068185862	0.163571007		65	60	1.08636932	0.03108057					16 25-75(5)-25	>300	>300	141
9	L55EP2	65 60 sec hold	60					14			65	140000	5.146128036	1.085628833		75	5	1.081879319	0.093950649					17 25-75(30)-25	2	3	3
10	L55EP2	75 5 sec hold	5					11			75	110000	5.041392685	1.190364184		75	30	4.460018738	0.398617833					18 25-75(60)-25	0	0	0
11	L55EP2	75 30 sec hold	30			168					75	168	2.225309282	4.006447587		75	60	4.648212936	0.006513094					-4	-5	-6
12	L55EP2	75 60 sec hold	60			38					75	38	1.579783597	4.651973272					19 No Heat	168	13	3
13	L55EP2	75 5 sec hold	5					16			75	160000	5.204119983	1.027636886					20 No Heat	141	57	3
14	L55EP2	75 30 sec hold	30			41					75	41	1.612783857	4.618973012					21 No Heat	222	22	35
15	L55EP2	75 60 sec hold	60			39					75	39	1.591064607	4.640692262					-7
16	L55EP2	75 5 sec hold	5					16			75	160000	5.204119983	1.027636886					Control – 1	39
17	L55EP2	75 30 sec hold	30			30					75	30	1.477121255	4.754635614					Control – 2	28
18	L55EP2	75 60 sec hold	60			38					75	38	1.579783597	4.651973272					No Phage control	Lawn Growth Normal
19	L55EP2	control	0					165				1650000	6.217483944
20	L55EP2	control	0					166				1660000	6.220108088
21	L55EP2	control	0					181				1810000	6.257678575		repeat
				lrv				(sec)	LRV
22-Jul	L55EP2	75 5 sec hold	5					75	250000			5.397940009	0.842353781				5	0.586249633	0.428918654
	L55EP2	75 30 sec hold	30					75	0	1 on -2		0	6.24029379	greater than			30	5.94, >6.24
	L55EP2	75 60 sec hold	60					75	0			0	6.24029379	greater than			60	6.24029379
	L55EP2	75 5 sec hold	5					75	260000			5.414973348	0.825320442
	L55EP2	75 30 sec hold	30					75	1	1 on -2		0	6.24029379	greater than
	L55EP2	75 60 sec hold	60					75	0	1 on -2		0	6.24029379	greater than
	L55EP2	75 5 sec hold	5					75	1410000			6.149219113	0.091074677
	L55EP2	75 30 sec hold	30					75	2	3 on -2		0.301029996	5.939263794
	L55EP2	75 60 sec hold	60					75	0			0	6.24029379	greater than
	L55EP2	control	0					1680000			6.225309282	6.24029379
	L55EP2	control	0					1410000			6.149219113
	L55EP2	control	0					2220000			6.346352974

## male_specific_9_Oct
Temperature inactivation exp design					15/07/2014	raw data in lab book					L55EP2 water			native male-specific phage
Target temperatures (C) :			65, 75
Initial hold times (sec)			5, 30, 60
				test vol 120 uL					yellow cell = greater than result
				MS-2					rnase-					rnase+					alternate calcs		5.35E+06
Sample ID		description	time(s)			N	-2	-4	-5	-6	temp (C )	-2	-3	-4	-5	-6	-7	Count	LRV	-2	-3	-4	-5	-6	-7	Count	LRV	Count	FRNA	LRV		LRV FDNA	FRNA	LRV
1	L55EP2	65 5 sec hold	5					167			65				>	99		9.90E+07	0.03		>	>	61			6.10E+06	-0.04	6.16	9.29E+07	0.038022241		-0.056976053
2	L55EP2	65 30 sec hold	30					80			65				>	68		6.80E+07	0.20		>	>	45			4.50E+06	0.09	6.62	6.35E+07	0.20326423		0.075141268
3	L55EP2	65 60 sec hold	60					13			65				>	41		4.10E+07	0.42		>	340	52			5.20E+06	0.03	12.68	3.58E+07	0.452154928		0.012350438
4	L55EP2	75 5 sec hold	5					121			75				>	54		5.40E+07	0.30	>		399				3.99E+06	0.15	7.39	5.00E+07	0.3069811		0.127380886
5	L55EP2	75 30 sec hold	30					78			75				45	3		4.50E+06	1.38	>		212				2.12E+06	0.42	47.11	2.38E+06	1.629460998		0.402017921
6	L55EP2	75 60 sec hold	60					15			75				8	1		8.00E+05	2.13	>		134				1.34E+06	0.62	167.50	1.00E+00	8.006037955		0.601248984
7	L55EP2					149
8	L55EP2					117
9	L55EP2					14
10	L55EP2					11
11	L55EP2					168
12	L55EP2					38
13	L55EP2					16
14	L55EP2					41
15	L55EP2					39
16	L55EP2					16
17	L55EP2					30
18	L55EP2	75 60 sec hold	60			38					7
19	L55EP2	control	0					165
20	L55EP2	control	0					166
21	L55EP2	control	0					181					107	6	1.07E+08				>	56	5		5.60E+06		5.23	1.01E+08

## male_specific_13_Oct
Temperature inactivation exp design					15/07/2014	raw data in lab book				L55EP2 water			native male-specific phage
Target temperatures (C) :			65, 75
Initial hold times (sec)			5, 30, 60
				test vol 120 uL					yellow cell = greater than result
				MS-2					rnase-					rnase+
Sample ID		description	time(s)			N	-2	-4	-5	-6	temp (C )	-2	-3	-4	-5	-6	-7	Count	LRV	-2	-3	-4	-5	-6	-7	Count	LRV	Count	FRNA	LRV
1	L55EP2	65 5 sec hold	5					167			65					82	7	8.20E+07	-0.17				57	5		5.70E+06	-0.18	6.95	7.63E+07	-0.164854035
2	L55EP2	65 30 sec hold	30					80			65					57	5	5.70E+07	-0.01				45	8		4.50E+06	-0.07	7.89	5.25E+07	-0.0024888
3	L55EP2	65 60 sec hold	60					13			65					32	3	3.20E+07	0.24				45	7		4.50E+06	-0.07	14.06	2.75E+07	0.278337809
4	L55EP2	75 5 sec hold	5					121			75					21	3	2.10E+07	0.43				41	2		4.10E+06	-0.03	19.52	1.69E+07	0.489783798
5	L55EP2	75 30 sec hold	30					78			75				43	3		4.30E+06	1.11			252	39			2.52E+06	0.18	58.60	1.78E+06	1.467250501
6	L55EP2	75 60 sec hold	60					15			75			172	13	0		1.72E+06	1.51			173	14			1.73E+06	0.34	100.58	1.00E+00	7.717670503
7	L55EP2					149
8	L55EP2					117
9	L55EP2					14
10	L55EP2					11
11	L55EP2					168
12	L55EP2					38
13	L55EP2					16
14	L55EP2					41
15	L55EP2					39
16	L55EP2					16
17	L55EP2					30
18	L55EP2	75 60 sec hold	60			38					75
19	L55EP2	control	0					165
20	L55EP2	control	0					166
21	L55EP2	control	0					181					56	3	5.60E+07				>	38	6		3.80E+06		6.79	5.22E+07

## male_specific_16_Oct
Temperature inactivation exp design					15/07/2014	raw data in lab book				L55EP2 water			native male-specific phage
Target temperatures (C) :			75
Initial hold times (sec)			5, 30, 60
				test vol 120 uL					yellow cell = greater than result
				MS-2					rnase-					rnase+
Sample ID		description	time(s)			N	-2	-4	-5	-6	temp (C )	-2	-3	-4	-5	-6	-7	Count	LRV	-2	-3	-4	-5	-6	-7	Count	LRV	Count	FRNA	LRV
1	L55EP2	75 5 sec hold	5					167			75					24.33333333		2.43E+07	0.61				60.33333333			6.03E+06	0.07	24.79	1.83E+07	0.699602395
2	L55EP2	75 30 sec hold	30					80			75				36.66666667			3.67E+06	1.43				37.33333333			3.73E+06	0.28	101.82	-6.67E+04	#NUM!
3	L55EP2	75 60 sec hold	60					13			75			169.6666667				1.70E+06	1.76			197.3333333				1.97E+06	0.55	116.31	1.00E+00	7.962053485
4	L55EP2
5	L55EP2
6	L55EP2
7	L55EP2					149
8	L55EP2					117
9	L55EP2					14
10	L55EP2					11
11	L55EP2					168
12	L55EP2					38
13	L55EP2					16
14	L55EP2					41
15	L55EP2					39
16	L55EP2					16
17	L55EP2					30
18	L55EP2					38
19	L55EP2	control	0					165
20	L55EP2	control	0					166
21	L55EP2	control	0					181					98.66666667		9.87E+07					70.33333333			7.03E+06		7.13	9.16E+07

				MS-2					rnase-					rnase+
Sample ID		description	time(s)			N	-2	-4	-5	-6		-2	-3	-4	-5	-6				-2	-3	-4	-5	-6
		75 0 sec hold	0					75					105		1.05E+08					70			7.00E+06
		75 0 sec hold	0					75					91		9.10E+07					62			6.20E+06
		75 0 sec hold	0					75					100		1.00E+08					79			7.90E+06
		75 5 sec hold	5					75					27		2.70E+07					62			6.20E+06
		75 5 sec hold	5					75					24		2.40E+07					52			5.20E+06
		75 5 sec hold	5					75					22		2.20E+07					67			6.70E+06
		75 30 sec hold	30					75				36			3.60E+06					36			3.60E+06
		75 30 sec hold	30					75				41			4.10E+06					31			3.10E+06
		75 30 sec hold	30					75				33			3.30E+06					45			4.50E+06
		75 60 sec hold	60					75			169				1.69E+06				187				1.87E+06
		75 60 sec hold	60					75			164				1.64E+06				209				2.09E+06
		75 60 sec hold	60					75			176				1.76E+06				196				1.96E+06

## Crypto_expt_21May
Temperature inactivation exp design					21/05/2014
Target temperatures (C) :				55
Initial hold times (sec)				1, 5, 30			measured ramping, 37sec from 25 to 55C, 119sec total for 25-55(1)-25
				test vol 120 uL

Sample ID	Spiked		description	hold time (s)	comment
	yes	milliQ	ramp 25-55-25	1	ramp is 1 sec hold
	yes	L55EP2	ramp 25-55-25	1
	yes	L55EP10	ramp 25-55-25	1
	yes	milliQ	25-55(5)-25	5	5s hold					stock is 1e4/uL			5+495
	yes	L55EP2	25-55(5)-25	5				test org Crypto			target 1e2/uL
	yes	L55EP10	25-55(5)-25	5					dilute crypto directly into milliQ, P2 or P10 water
	yes	milliQ	25-55(30)-25	30	30s hold					aliquot 120uL into tubes
	yes	L55EP2	25-55(30)-25	30
	yes	L55EP10	25-55(30)-25	30					dilute working stock				5+495
	yes	milliQ	25C 149sec in block cycler					1oocyst/uL
	yes	L55EP2	25C 149sec in block cycler					stain 100uL of dilution for counting
	yes	L55EP10	25C 149sec in block cycler					count
	yes	milliQ	room temp control					milliQ	81
	yes	L55EP2	room temp control					L55EP2	91
	yes	L55EP10	room temp control					L55EP10	72
	CC plate				oocysts added	Count (1000)	%	LRV
	1	milliQ	ramp 25-55-25	1	81	380	0.469135802	-0.117385599			for cell culture analyse either 100 or 1000 oocysts (10uL of 1e2/uL or 100 uL of 1e0/uL)
	2	milliQ	ramp 25-55-25	1	810	>
	3	L55EP2	ramp 25-55-25	1	91	500	0.549450549	-0.119186408
	4	L55EP2	ramp 25-55-25	1	910	>
	5	L55EP10	ramp 25-55-25	1	72	570	0.791666667	-0.293476858
	6	L55EP10	ramp 25-55-25	1	720	>
	7	milliQ	25-55(5)-25	5	810	>
	8	L55EP2	25-55(5)-25	5	910	>
	9	L55EP10	25-55(5)-25	5	720	>
	10	milliQ	25-55(30)-25	30	810	0	0	2.462397998	>
	11	L55EP2	25-55(30)-25	30	910	0	0	2.579783597	>
	12	L55EP10	25-55(30)-25	30	720	1	0.000138889	2.462397998	was a borderline focus
	13	milliQ	25C 149sec in block cycler		81	390	0.481481481	-0.128666609
	14	milliQ	25C 149sec in block cycler		810	>
	15	L55EP2	25C 149sec in block cycler		91	500	0.549450549	-0.119186408
	16	L55EP2	25C 149sec in block cycler		910	>
	17	L55EP10	25C 149sec in block cycler		72	210	0.291666667	0.140178703
	18	L55EP10	25C 149sec in block cycler		720	>
	19	milliQ	room temp control		81	290	0.358024691	0
	20	L55EP2	room temp control		91	380	0.417582418	0
	21	L55EP10	room temp control		72	290	0.402777778

## Crypto_expt_28May
Temperature inactivation exp design					28/05/2014
Target temperatures (C) :				55, 65
Initial hold times (sec)				15, 30
				test vol 120 uL
				600
L55EP2	description		vol to analyse
1	25-55(15)-25		10, 100 of diln
2	25-55(30)-25		10
3	25-65(15)-25		10
4	25-75(5)-25		10					stock is 1e4/uL			10+990
5	room temp control		100 of diln					test org Crypto			target 1e2/uL
6					dilute crypto directly into P2
7					aliquot 120uL into tubes				8733.333333	87.33333333	oocysts/uL
8
9					dilute working stock				10+990
10					1oocyst/uL
11					stain 100uL of dilution for counting + 30 stain + 870 PBS
12					count			Average
				L55EP2	73			87.33333333	0.873333333	oocysts /uL
				L55EP2	86			15.0443788
				L55EP2	103	(counted twice)
CC plate	ID	time (s)	temp (C )	vol added to CC	oocysts added	Dots?	foci	ration infect	max infectious	LRV (greater than since all zeros)	combined for 3 reps
1	25-55(15)-25	15	55	20 (neat)	1746.666667	Y	0		946.6666667	2.976197085	3.45331834		for cell culture analyse either 100 or 1000 oocysts (10uL of 1e2/uL or 100 uL of 1e0/uL)
2	25-55(15)-25	15	55	20 (neat)	1746.666667	Y	0		946.6666667	2.976197085
3	25-55(15)-25	15	55	20 (neat)	1746.666667	Y	0		946.6666667	2.976197085
4	25-55(15)-25	15	55	200 (-2 diln)	174.6666667	Y	0		94.66666667	1.976197085
5	25-55(15)-25	15	55	200 (-2 diln)	174.6666667	N	0		94.66666667	1.976197085
6	25-55(15)-25	15	55	200 (-2 diln)	174.6666667	N	0		94.66666667	1.976197085
7	25-55(30)-25	30	55	20 (neat)	1746.666667	Y	0		946.6666667	2.976197085
8	25-55(30)-25	30	55	20 (neat)	1746.666667	Y	0		946.6666667	2.976197085
9	25-55(30)-25	30	55	20 (neat)	1746.666667	Y	0		946.6666667	2.976197085
10	25-65(15)-25	15	66	20 (neat)	1746.666667		0		946.6666667	2.976197085
11	25-65(15)-25	15	65	20 (neat)	1746.666667		0		946.6666667	2.976197085
12	25-65(15)-25	15	65	20 (neat)	1746.666667		0		946.6666667	2.976197085
13	25-75(5)-25	5	75	20 (neat)	1746.666667		0		946.6666667	2.976197085
14	25-75(5)-25	5	75	20 (neat)	1746.666667		0		946.6666667	2.976197085
15	25-75(5)-25	5	75	20 (neat)	1746.666667		0		946.6666667	2.976197085
16	room temp control			200 (-2 diln)	174.6666667		109	0.624045802
17	room temp control			200 (-2 diln)	174.6666667		86	0.492366412
18	room temp control			200 (-2 diln)	174.6666667		89	0.509541985

				average infectivity =		0.541984733
				stdev		0.071583967

## Crypto_expt_4Jun
Temperature inactivation exp design					4/06/2014
Target temperatures (C) :					55
Initial hold times (sec)					15
				test vol 120 uL
L55EP2	description			vol to analyse
1	25-55(15)-25			20 x 4 tubes
2	25-55(15)-25			20 x 4 tubes
3	25-55(15)-25			20 x 2 tubes
4	25-55(15)-25			100					stock is 1e4/uL			12+988
5	25-55(15)-25			100					test org Crypto			target 1e2/uL
6	25-55(15)-25			100	+ 100 of control					dilute crypto directly into P2
7	25-55(15)-25			100	+ 100 of control					aliquot 120uL into tubes				11100	111	oocysts/uL
8	room temp control			100 of diln
				dilute working stock				10+990
				1oocyst/uL
				stain 100uL of dilution for counting + 30 stain + 870 PBS
CC plate	ID	time (s)	temp (C )	vol added to CC	oocysts added	Dots?	foci	ration infect	max infectious	LRV (greater than since all zeros)				count			Average
1	25-55(15)-25	15	55	20 (neat)	2220		>250		973.3333333				L55EP2	113			111	1.11	oocysts /uL
2	25-55(15)-25	15	55	20 (neat)	2220		>250		973.3333333				L55EP2	109			2
3	25-55(15)-25	15	55	20 (neat)	2220		>200		973.3333333				L55EP2	111
4	25-55(15)-25	15	55	20 (neat)	2220		>230		973.3333333
5	25-55(15)-25	15	55	20 (neat)	2220		116	0.052252252	973.3333333	0.923803608	combined for 3 reps
6	25-55(15)-25	15	55	20 (neat)	2220		126	0.056756757	973.3333333	0.887891052	0.970469664		for cell culture analyse either 100 or 1000 oocysts (10uL of 1e2/uL or 100 uL of 1e0/uL)
7	25-55(15)-25	15	55	20 (neat)	2220		173	0.077927928	973.3333333	0.750215494
8	25-55(15)-25	15	55	20 (neat)	2220		176	0.079279279	973.3333333	0.742748929
9	25-55(15)-25	15	55	20 (neat)	2220		187	0.084234234	973.3333333	0.71641999
10	25-55(15)-25	15	55	20 (neat)	2220		146	0.065765766	973.3333333	0.823908741
11	25-55(15)-25	15	55	100 (neat)	11100		222	0.02	4866.666667	1.340878627
12	25-55(15)-25	15	55	100 (neat)	11100		>300		4866.666667
13	25-55(15)-25	15	55	100 (neat) + 100 control	11211		>300		4915.333333
14	25-55(15)-25	15	55	100 (neat) + 100 control	11211		245	0.021853537	4915.333333	1.30238689		196.3333333		1.398558935
15	25-55(15)-25	15	55	100 (neat) + 100 control	11211		265	0.023637499	4915.333333	1.268307101		217.5		1.354093714
16	room temp control			100 (-2 diln)	111		51	0.459459459
17	room temp control			100 (-2 diln)	111		49	0.441441441
18	room temp control			100 (-2 diln)	111		46	0.414414414

				average infectivity =		0.438438438
				stdev		0.022672175

## Crypto_expt_18Jun
Temperature inactivation exp design					18/06/2014
Target temperatures (C) :				65
Initial hold times (sec)				15
				test vol 120 uL
L55EP2	description		vol to analyse
1	25-65(15)-25		20 x 4 tubes
2	25-65(15)-25		20 x 4 tubes
3	25-65(15)-25		20 x 2 tubes
4	25-65(15)-25		100					stock is 1e4/uL			12+988
5	25-65(15)-25		100					test org Crypto			target 1e2/uL
6	25-65(15)-25		100	+ 100 of control		ran out of oocysts					dilute crypto directly into P2
7	25-65(15)-25		100	+ 100 of control		ran out of oocysts					aliquot 120uL into tubes				3000	30	oocysts/uL
8	room temp control		100 of diln
				dilute working stock				10+990
				1oocyst/uL
				stain 100uL of dilution for counting + 30 stain + 870 PBS
CC plate	ID		vol added to CC	oocysts added	Dots?	foci	ration infect	max infectious	LRV (greater than since all zeros)				count
1	25-65(15)-25		20 (neat)	600		0	0	183.3333333	2.263241435			L55EP2	31			30	0.3	oocysts /uL
2	25-65(15)-25		20 (neat)	600		0	0	183.3333333	2.263241435			L55EP2	30			1
3	25-65(15)-25		20 (neat)	600		0	0	183.3333333	2.263241435			L55EP2	29
4	25-65(15)-25		20 (neat)	600		0	0	183.3333333	2.263241435
5	25-65(15)-25		20 (neat)	600		0	0	183.3333333	2.263241435	combined for all reps (LRV calculated for killing all oocysts applied to CC)
6	25-65(15)-25		20 (neat)	600		0	0	183.3333333	2.263241435	3.807309479		for cell culture analyse either 100 or 1000 oocysts (10uL of 1e2/uL or 100 uL of 1e0/uL)
7	25-65(15)-25		20 (neat)	600		0	0	183.3333333	2.263241435
8	25-65(15)-25		20 (neat)	600		0	0	183.3333333	2.263241435
9	25-65(15)-25		20 (neat)	600		0	0	183.3333333	2.263241435
10	25-65(15)-25		20 (neat)	600		0	0	183.3333333	2.263241435
11	25-65(15)-25		100 (neat)	3000		0	0	916.6666667	2.962211439
12	25-65(15)-25		100 (neat)	3000		0	0	916.6666667	2.962211439
13	25-65(15)-25		100 (neat)	3000		0	0	916.6666667	2.962211439
14	25-65(15)-25		100 (neat)	3000		0	0	916.6666667	2.962211439
15	25-65(15)-25		100 (neat)	3000		0	0	916.6666667	2.962211439
16	25-65(15)-25		100 (neat)	3000		0	0
17	room temp control		200 (-2 diln)	60		17	0.283333333
18	room temp control		200 (-2 diln)	60		19	0.316666667
19	room temp control		200 (-2 diln)	60		19	0.316666667
				average infectivity =		0.305555556
				stdev		0.174005108

## Giardia_expt_5Aug
Excystation exp design					5/08/2014
Target temperatures (C) :				NA
Initial hold times (sec)				NA

30 stain added to washed cysts + PBS made up to 1 mL

## Ec__expt_22May
Temperature inactivation exp design					22/05/2014
Target temperatures (C) :			65				use lab ecoli or WW isolated ecoli
Initial hold times (sec)			5,30,60
				test vol 120 uL				target - 1e3 / uL			assume 1e8/mL stock
				1e5/uL
Sample ID	L55EP2	description	Hold time (s)	comment			test org E coli		resusp ON culture in same vol of P2 then dilute in P2 water 1/100
1	lab	25-65(5)-25	5	anticipate around 1e5					aliquot 120 uL into appropriate tube
2	WW	25-65(5)-25	5	anticipate around 1e5					transfer to 120 mL sterile water / PBS
3	lab	25-65(30)-25	30	anticipate around 1e3
4	WW	25-65(30)-25	30	anticipate around 1e3
5	lab	25-65(60)-25	60	anticipate around 0
6	WW	25-65(60)-25	60	anticipate around 0
7	lab	control		anticipate around 1e6
8	WW	control		anticipate around 1e6

Results				yellow = 0 detection		green = greater than
				Ec	Fc	time	LRV
1	lab	25-65(5)-25	5	2100000	2100000	5	-0.243038049
2	WW	25-65(5)-25	5	1500000	1500000	5	0.514104821
3	lab	25-65(30)-25	30	740	740	30	3.209949526
4	WW	25-65(30)-25	30	77000	77000	30	1.803705355
5	lab	25-65(60)-25	60	1	0	60	6.079181246
6	WW	25-65(60)-25	60	1	1	60	6.69019608
7	lab	control		1200000	1200000
8	WW	control		4900000	4900000

## Ec__expt_27May
Temperature inactivation exp design					27/05/2014
Target temperatures (C) :			65					use lab ecoli or WW isolated ecoli
Initial hold times (sec)			30,45,60
				test vol 120 uL				target - 1e3 / uL			assume 1e8/mL stock
				1e5/uL
Sample ID	L55EP2	description	Hold time (s)	comment			result			test org E coli		resusp ON culture in same vol of P2 then dilute in P2 water 1/100
9	lab	25-65(30)-25	30	anticipate around 1e3-4			140000	double checked these, look legit				aliquot 120 uL into appropriate tube
10	lab	25-65(30)-25	30	anticipate around 1e3-4			40000	double checked these, look legit				transfer to 120 mL sterile water / PBS
11	lab	25-65(30)-25	30	anticipate around 1e3-4			14000	double checked these, look legit
12	WW	25-65(30)-25	30	anticipate around 1e3-4			140000
13	WW	25-65(30)-25	30	anticipate around 1e3-4			190000
14	WW	25-65(30)-25	30	anticipate around 1e3-4			210000
15	lab	25-65(45)-25	45	anticipate around 1e2			1
16	lab	25-65(45)-25	45	anticipate around 1e2			0
17	lab	25-65(45)-25	45	anticipate around 1e2			1
18	WW	25-65(45)-25	45	anticipate around 1e2			0
19	WW	25-65(45)-25	45	anticipate around 1e2			2
20	WW	25-65(45)-25	45	anticipate around 1e2			3
21	lab	25-65(60)-25	60	anticipate around 0			1
22	lab	25-65(60)-25	60	anticipate around 0			0
23	WW	25-65(60)-25	60	anticipate around 0			0
24	WW	25-65(60)-25	60	anticipate around 0			2
25	lab	control		anticipate around 1e6			3500000
26	lab	control		anticipate around 1e6			4600000
27	lab	control		anticipate around 1e6			4100000
28	WW	control		anticipate around 1e6			5500000
29	WW	control		anticipate around 1e6			5600000
30	WW	control		anticipate around 1e6			5500000

Results				yellow = 0 detection		green = greater than
				mean	stdev	time	LRV	%RSD
4	lab	control	0	4066666.667	550757.0547	0	0	13.54320626
1	lab	25-65(30)-25	30	64666.66667	66523.17892	30	1.798558101	102.8708952
2	lab	25-65(45)-25	45	0.666666667	0.577350269	45	6.785329835	86.60254038
3	lab	25-65(60)-25	60	0.5	0.707106781	60	6.910268572	141.4213562
8	WW	control	0	5533333.333	57735.02692	0	0	1.043404101
5	WW	25-65(30)-25	30	180000	36055.51275	30	1.487714328	20.03084042
6	WW	25-65(45)-25	45	1.666666667	2	45	6.521138084	120
7	WW	25-65(60)-25	60	1	1.414213562	60	6.742986833	141.4213562

## Ec__expt_4Jun
Temperature inactivation exp design					4/06/2014
Target temperatures (C) :			65					use lab ecoli or WW isolated ecoli
Initial hold times (sec)			30,45,60
				test vol 120 uL				target - 1e3 / uL			assume 1e8/mL stock
				1e5/uL
Sample ID	L55EP2	description	Hold time (s)	comment			result			test org E coli		resusp ON culture in same vol of P2 then dilute in P2 water 1/100
1	lab	25-65(30)-25	30	anticipate around 1e3-4			7200					aliquot 120 uL into appropriate tube
2	lab	25-65(30)-25	30	anticipate around 1e3-4			690					transfer to 120 mL sterile water / PBS
3	lab	25-65(30)-25	30	anticipate around 1e3-4			29000
4	WW	25-65(30)-25	30	anticipate around 1e3-4			270000
5	WW	25-65(30)-25	30	anticipate around 1e3-4			600000
6	WW	25-65(30)-25	30	anticipate around 1e3-4			460000
7	lab	25-65(45)-25	45	anticipate around 1e2			0
8	lab	25-65(45)-25	45	anticipate around 1e2			0
9	lab	25-65(45)-25	45	anticipate around 1e2			0
10	WW	25-65(45)-25	45	anticipate around 1e2			440
11	WW	25-65(45)-25	45	anticipate around 1e2			630
12	WW	25-65(45)-25	45	anticipate around 1e2			270
13	lab	25-65(60)-25	60	anticipate around 0			0
14	lab	25-65(60)-25	60	anticipate around 0			0
15	lab	25-65(60)-25	60	anticipate around 0			0
16	WW	25-65(60)-25	60	anticipate around 0			49
17	WW	25-65(60)-25	60	anticipate around 0			58
18	WW	25-65(60)-25	60	anticipate around 0			99
19	lab	control		anticipate around 1e6			2600000
20	lab	control		anticipate around 1e6			2900000
21	lab	control		anticipate around 1e6			3800000
22	WW	control		anticipate around 1e6			3800000
23	WW	control		anticipate around 1e6			2300000
24	WW	control		anticipate around 1e6			2500000

Results				yellow = 0 detection		green = greater than
				mean	stdev	time	LRV	%RSD
1	lab	control	0	3100000	624499.7998	0	0	20.14515483
2	lab	25-65(30)-25	30	12296.66667	14827.20585	30	2.401574293	120.5790663
3	lab	25-65(45)-25	45	0	0	45	6.491361694	#DIV/0!	greater than result
4	lab	25-65(60)-25	60	0	0	60	6.491361694	#DIV/0!
5	WW	control	0	2866666.667	814452.7815	0	0	28.41114354
6	WW	25-65(30)-25	30	443333.3333	165630.11	30	0.81064681	37.36017518
7	WW	25-65(45)-25	45	446.6666667	300	45	3.807393653	67.1641791
8	WW	25-65(60)-25	60	24.5	34.64823228	60	5.068211112	141.4213562

## Enterococci__expt_29May
Temperature inactivation exp design					29/05/2014
Target temperatures (C) :			65					use WW isolated entero
Initial hold times (sec)			1,30,60
				test vol 120 uL				target - 1e3 / uL			assume 1e8/mL stock
				1e5/uL
Sample ID	L55EP2	description		comment			result			test org L55EP2 Ent		resusp ON culture in same vol of P2 then dilute in P2 water 1/100
7	WW	25-65(1)-25		anticipate around 1e6					aliquot 120 uL into appropriate tube
8	WW	25-65(30)-25		anticipate around 1e0-5					transfer to 120 mL sterile water / PBS
9	WW	25-65(60)-25		anticipate around 1e0-4
10	WW	control		anticipate around 1e6

Results
			time (sec)	Ent		time (sec)	LRV
7	WW	25-65(1)-25	1	1200000		1	-0.037788561
8	WW	25-65(30)-25	30	250000		30	0.643452676
9	WW	25-65(60)-25	60	8100		60	2.132907666
10	WW	control	0	1100000		0
5
6
7
8

## Enterococci__expt_12June
Temperature inactivation exp design					12/06/2014
Target temperatures (C) :			65					use WW isolated entero
Initial hold times (sec)			30,45,60
do each heat exposure separately					test vol 120 uL				target - 1e3 / uL			assume 1e8/mL stock
				1e5/uL
Sample ID	L55EP2	description	time (s)	temp (C )	comment			result			test org L55EP2 Ent		resusp ON culture in same vol of P2 then make 3x samples diluted in P2 water 1/100
11	WW1	25-65(30)-25	30	65	anticipate around 1e5			240000					aliquot 120 uL into appropriate tube
12	WW1	25-65(45)-25	45	65	anticipate around 1e4-5			28000					transfer to 140 mL sterile water / PBS
13	WW1	25-65(60)-25	60	65	anticipate around 1e3-4			24000
14	WW1	25-75(5)-25	5	75	anticipate around 1e2-4			220000
15	WW2	25-65(30)-25	30	65	anticipate around 1e5			450000
16	WW2	25-65(45)-25	45	65	anticipate around 1e4-5			58000
17	WW2	25-65(60)-25	60	65	anticipate around 1e3-4			4000
18	WW2	25-75(5)-25	5	75	anticipate around 1e2-4			32000
19	WW3	25-65(30)-25	30	65	anticipate around 1e5			310000
20	WW3	25-65(45)-25	45	65	anticipate around 1e4-5			100000
21	WW3	25-65(60)-25	60	65	anticipate around 1e3-4			14000
22	WW3	25-75(5)-25	5	75	anticipate around 1e2-4			1700
23	WW1	control			anticipate around 1e6			1200000	1366666.667
24	WW2	control			anticipate around 1e6			1200000
25	WW3	control			anticipate around 1e6			1700000
26	140mL of L55EP2				anticipate around 1e0-4			590

Results
			time (s)	temp (C )	LRV			Average	St Dev
11	WW1	25-65(30)-25	30	65	0.75545136	65	30	0.627400786	0.137283044
12	WW1	25-65(45)-25	45	65	1.688504571	65	45	1.398800594	0.277376773
13	WW1	25-65(60)-25	60	65	1.75545136	65	60	2.092862846	0.399233506
14	WW1	25-75(5)-25	5	75	0.793239921	75	5	1.776322075	1.063510032
15	WW2	25-65(30)-25	30	65	0.482450088
16	WW2	25-65(45)-25	45	65	1.372234608
17	WW2	25-65(60)-25	60	65	2.533602611
18	WW2	25-75(5)-25	5	75	1.630512624
19	WW3	25-65(30)-25	30	65	0.644300908
20	WW3	25-65(45)-25	45	65	1.135662602
21	WW3	25-65(60)-25	60	65	1.989534566
22	WW3	25-75(5)-25	5	75	2.905213681

## Enterococci__expt_19June
Temperature inactivation exp design					19/06/2014
Target temperatures (C) :			75					use WW isolated entero
Initial hold times (sec)			15,30,45,60
do each heat exposure separately					test vol 120 uL				target - 1e3 / uL			assume 1e8/mL stock
				1e5/uL
Sample ID	L55EP2	description		comment			result			test org L55EP2 Ent		resusp ON culture in same vol of P2 then make 3x samples diluted in P2 water 1/100
1	WW1	25-75(15)-25		anticipate around 1e3-5			35					aliquot 120 uL into appropriate tube
2	WW1	25-75(30)-25		anticipate around 1e2-4			0					transfer to 140 mL sterile water / PBS
3	WW1	25-75(45)-25		anticipate around 1e1-3			0
4	WW1	25-75(60)-25		anticipate around 1e1-2			0
5	WW2	25-75(15)-25		anticipate around 1e3-5			1300
6	WW2	25-75(30)-25		anticipate around 1e2-4			0
7	WW2	25-75(45)-25		anticipate around 1e1-3			0
8	WW2	25-75(60)-25		anticipate around 1e1-2			0
9	WW3	25-75(15)-25		anticipate around 1e3-5			3200
10	WW3	25-75(30)-25		anticipate around 1e2-4			0
11	WW3	25-75(45)-25		anticipate around 1e1-3			0
12	WW3	25-75(60)-25		anticipate around 1e1-2			0
13	WW1	control		anticipate around 1e6			830000	800000
14	WW2	control		anticipate around 1e6			750000
15	WW3	control		anticipate around 1e6			820000
16	140mL of L55EP2			anticipate around 1e2-3			290

Results					yellow=greater than			Average	St Dev
				time (sec)	LRV	temp (c)	5	1.776322075	1.063510032
1	WW1	25-65(30)-25		15	4.359021943	65	15	3.182036195	1.037897993
2	WW1	25-65(45)-25		30	5.903089987	65	30	5.903089987	0
3	WW1	25-65(60)-25		45	5.903089987	65	45	5.903089987	0
4	WW1	25-75(5)-25		60	5.903089987	75	60	5.903089987	0
5	WW2	25-65(30)-25		15	2.789146635
6	WW2	25-65(45)-25		30	5.903089987
7	WW2	25-65(60)-25		45	5.903089987
8	WW2	25-75(5)-25		60	5.903089987
9	WW3	25-65(30)-25		15	2.397940009
10	WW3	25-65(45)-25		30	5.903089987
11	WW3	25-65(60)-25		45	5.903089987
12	WW3	25-75(5)-25		60	5.903089987

## Adeno2_expt_17_June
Temperature inactivation exp design					17/06/2014
Target temperatures (C) :			55, 65, 75					Adenovirus 2 (24.6.13)				assume 8.5e8/mL stock
Initial hold times (sec)			1, 30, 60					2.99E+07
do each heat exposure separately					test vol 120 uL				target -3e7 /ml (126.45uL into 3.6mL L55EP2)

Sample ID	L55EP2	description		comment			result			test org L55EP2 Ent
1					0					aliquot 120 uL into appropriate tube
2					0				Dilute neat 1:1 with 2x MEMM
3					0				Further dilutions were done with 1x MEMM
4					0				Assay vol 100uL		anticipate		1.49E+06	pfu/well
5					0					1.49E+07	pfu/mL
6					0
7					50000000
8					300000
9					0
13				anticipate around 1.5e7			39000000	41666666.67
14				anticipate around 1.5e7			38000000
15				anticipate around 1.5e7			48000000

Results					yellow=greater than
				time (s)	temp (C )	LRV
1		25-75(1)-25		1	75	7.619788758
2		25-75(30)-25		30	75	7.619788758
3		25-75(60)-25		60	75	7.619788758
4		25-65(1)-25		1	65	7.619788758
5		25-65(30)-25		30	65	7.619788758
6		25-65(60)-25		60	65	7.619788758
7		25-55(1)-25		1	55	-0.079181246
8		25-55(30)-25		30	55	2.142667504
9		25-55(60)-25		60	55	7.619788758

## Adeno2_expt_8_July
Temperature inactivation exp design					8/07/2014
Target temperatures (C) :			55					Adenovirus 2 (24.6.13)				assume 8.5e8/mL stock
Initial hold times (sec)			0, 15, 30, 60					2.99E+07
do each test exposure separately (n=3)					test vol 120 uL				target -3e7 /ml (126.45uL into 3.6mL L55EP2)

				test org L55EP2 Ent
				aliquot 120 uL into appropriate tube
				Dilute neat 1:1 with 2x MEMM
				Further dilutions were done with 1x MEMM
				Assay vol 100uL		anticipate		1.49E+06	pfu/well
				1.49E+07	pfu/mL

	dilution	Rep1	Rep2	Rep3	Rep1	Rep2	Rep3	Rep1	Rep2	Rep3
55oC, 15S	-4	85	>100	>100	>100	>100	>100	>100	>100	>100
	-5	12	12	9	7	27	22	28	22	12

55oC, 30S	-3	8	35	31	15	15	7	18	24	34
	-4	0	2	3	0	0	0	0	2	1

55oC, 60S	N	0	0	0	0	0	0	0	0	0

0	-5	28	29	26	38	26	28	29	31	27
	-6	2	3	5

	N=1				N=2				N=3
Time	Rep1	Rep2	Rep3	Ave	Rep1	Rep2	Rep3	Ave	Rep1	Rep2	Rep3	Ave	dilution
0	28	29	26	28	38	26	28	31	29	31	27	29	2000000
15	12	12	9	11	7	27	22	19	28	22	12	21	2000000
30	8	35	31	25	15	15	8	13	18	24	34	25	20000
60	0	0	0	0	0	0	0	0	0	0	0	0	20
	1	2	3				LRV
0	5.53E+07	6.13E+07	5.80E+07	7.74	7.79	7.76				Ave	sdev
15	1.80E+07	3.73E+07	4.13E+07	7.26	7.57	7.62	0.49	0.22	0.15	0.28	0.180154613
30	4.93E+05	2.53E+05	5.07E+05	5.69	5.40	5.70	2.05	2.38	2.06	2.16	0.190420202
60	0.00E+00	0.00E+00	0.00E+00	0.00	0.00	0.00	7.74	7.79	7.76	7.76	0.022382155	greater than result

## CB5_expt_22_July_
Temperature inactivation exp design					22/07/2014
Target temperatures (C) :			55, 65, 75					Stock concentration		4.8x108	pfu/ml
Initial hold times (sec)			1, 30, 60					target		2x108	pfu/ml
do each heat exposure separately					need 1.5ml of stock + 2.1ml L55EP2
				aliqout 120uL
				Neat (100uL sample + 100uL 2xMEMM +P/S) 1/2 dilution
				carried serial dilution in 1xMEMM+ P/S
				inoculated 100uL/well (x10 to get ml/well)

dilution			-4	-5	-6
control			>100	>100	7,13,10			1.00E+07	7
negative			0,0,0
dilution			N	-2	-4	-6
	time (s)	Temp (C )					LV
25-55(1)-25	1	55	>100	>100	3	6		3.00E+04	4.477121255
25-55(30)-25	30	55	>100	0	0	0		1.00E+02	2
25-55(60)-25	60	55	23	0	0	0		2.30E+01	1.361727836
25-65(1)-25	1	65	98	0	0	0		9.80E+01	1.991226076
25-65(30)-25	30	65	0	0	0	0		0.00E+00	0
25-65(60)-25	60	65	0	0	0	0		0.00E+00	0
25-75(1)-25	1	75	0	0	0	0		0.00E+00	0
25-75(30)-25	30	75	0	0	0	0		0.00E+00	0
25-75(60)-25	60	75	0	0	0	0		0.00E+00	0

			55	65	75
		1	2.522878745	5.008773924	7			estimate
		30	5	7	7			greater than
		60	5.638272164	7	7

## CB5_expt_29_July
Temperature inactivation exp design					22/07/2014
Target temperatures (C) :			55					Stock concentration		4.8x108	pfu/ml
Initial hold times (sec)			15,30,60s					target		2x108	pfu/ml
do each test exposure separately (n=3)					need 625ul of stock + 875ul L55EP2, 3 tubes (n=3)
				aliqout 120uL
				Neat (100uL sample + 100uL 2xMEMM +P/S) 1/2 dilution
				carried serial dilution in 1xMEMM+ P/S
				inoculated 100uL/well (x10 to get ml/well)

	dilution	Rep1	Rep2	Rep3	Rep1	Rep2	Rep3	Rep1	Rep2	Rep3
55oC, 15S	-1	4	6	12	12	9	11	5	11	11
	-2	2	2	0	0	0	1	0	1	1

55oC, 30S	-1	17	11	2	3	10	3	1	17	10

55oC, 60S	N	1	5	2	32	6	8	62	8	41

0	-5	>100	>100	>100	>100	>100	>100	>100	>100	>100
	-6	14	13	8	14	14	15	12	10	15

	N=1				N=2				N=3
Time	Rep1	Rep2	Rep3	Ave	Rep1	Rep2	Rep3	Ave	Rep1	Rep2	Rep3	Ave	dilution
0	2.80E+08	2.60E+08	1.60E+08	2.33E+08	2.80E+08	2.80E+08	3.00E+08	2.87E+08	2.40E+08	2.00E+08	3.00E+08	2.47E+08	2.00E+07
15	8.00E+02	1.20E+03	2.40E+03	1.47E+03	2.40E+03	1.80E+03	2.20E+03	2.13E+03	1.00E+03	2.20E+03	2.20E+03	1.80E+03	2.00E+02
30	3.40E+03	2.20E+03	4.00E+02	2.00E+03	6.00E+02	2.00E+03	6.00E+02	1.07E+03	2.00E+02	3.40E+03	2.00E+03	1.87E+03	2.00E+02
60	2.00E+01	1.00E+02	4.00E+01	5.33E+01	6.40E+02	1.20E+02	1.60E+02	3.07E+02	1.24E+03	1.60E+02	8.20E+02	7.40E+02	2.00E+01
	1	2	3				LRV
0	2.33E+08	2.87E+08	2.47E+08	8.37	8.46	8.39				Ave	sdev
15	1.47E+03	2.13E+03	1.80E+03	3.17	3.33	3.26	5.20	5.04	5.11	5.12	0.081481179
30	2.00E+03	1.07E+03	1.87E+03	3.30	3.03	3.27	5.07	5.34	5.10	5.17	0.149719172
60	5.33E+01	3.07E+02	7.40E+02	1.73	2.49	2.87	6.64	5.88	5.50	6.01	0.581398821	greater than result